## EDM1
EDM Return for Anglian Water Annual 2019
Period selected from 01/01/2019 to 31/12/2019
Water Company Name | Site Name | Permit No. | Activity Reference (if more than one discharge) on permit | Shellfishery (Only populate for storm overflows that have Shellfish water EDM requirements) | Bathing Beach (Only populate for storm overflows that have bathing water EDM requirements) | Total Duration (hours) of all spills prior to processing through 12-24 hour counting method | Counted spills using 12-24hr counting method | % of reporting period EDM operational | Comments
Anglian Water | Austin Field PS | AECTS189/10313/V001 | CSO | N/a | N/a | 205.5 | 68 | 100% | Operational repair under investigation
Anglian Water | Beccles - Common Lane TPS | ASETS16674 | CSO | N/a | N/a | 53.6333 | 21 | 100%
Anglian Water | Boston - Church Rd sp | AW3NFF988/V001 | CSO / EO | West Wash | N/a | 5353 | 225 | 46.02% | Reporting logic resolved. Under further investigation
Anglian Water | Boston - Fenside Rd sp | ANNNF/4086/13728/V001 | CSO / EO | West Wash | N/a | 9.4333 | 26 | 99.99%
Anglian Water | Boston - London Rd PS | ANNNTS/4084/13726/V001 | CSO / EO | West Wash | N/a | 0 | 0 | 100%
Anglian Water | Boston - London Rd sp | AW3NFF987 | CSO / EO | West Wash | N/a | 2360.8667 | 103 | 51.82% | Reporting logic now resolved
Anglian Water | Boston - New East Side TPS | AW3TSF904/V002 | CSO | West Wash | N/a | 1761.9333 | 98 | 100% | Reporting logic resolved. Under further investigation
Anglian Water | Boston - Norfolk Place CSO | ANNTS13731 | CSO | West Wash | N/a | 10.9 | 22 | 99.99%
Anglian Water | Boston - Norfolk Street | ANNNF13733 | CSO | West Wash | N/a | 7.8333 | 23 | 99.98%
Anglian Water | Boston - Queens Rd | ANNNF1758 | CSO | West Wash | N/a | 13.2333 | 4 | 85.69% | Comms issue now resolved
Anglian Water | Boston - Sleaford Rd sp | ANNNF/4085/13727/V001 | CSO / EO | West Wash | N/a | 12.6333 | 21 | 100%
Anglian Water | Bradwell Waterside | ASENF2698 | CSO | N/a | N/a | 84.5667 | 21 | 100%
Anglian Water | Brayford North Overflow (Lincoln - Brayford way SP) | ANNNF3278/13386 | CSO | N/a | N/a | 41.7667 | 24 | 100%
Anglian Water | Brigg - Gas House Lane TPS | ANNNF956(2)/13096/V001 | CSO | N/a | N/a | 7.5333 | 7 | 100%
Anglian Water | Brigg STW - settled storm | AW3NFF892 | CSO | N/a | N/a | 2898.2 | 159 | 87.42% | EDM location changed. Under further investigation
Anglian Water | Brightlingsea - Spring Rd CSO | ASENF3270/12165 | CSO | Colne | N/a | 0.33333 | 2 | 100%
Anglian Water | Brightlingsea - West Dyke TPS (LWR PARK RD) CSO/EO | ASENF 3284/12161 | CSO / EO | Colne | N/a | 3575.2 | 318 | 98.31% | Under Investigation
Anglian Water | Brightlingsea overflow - lower park OV | ASENF 3270/12162/V001 | CSO | Colne | N/a | 3658 | 154 | 100% | Under Investigation
Anglian Water | Brightlingsea overflow - Station road #58 | ASENF3270/12166 | CSO | Colne | N/a | 21.9 | 23 | 100%
Anglian Water | Brightlingsea overflow (Bellfid 35) | ASENF 3270/12163/V001 | CSO | Colne | N/a | 0.2 | 4 | 100%
Anglian Water | Brightlingsea overflow (western rd) community centre | ASENF3270/12167 | CSO | Colne | N/a | 1595 | 67 | 100% | Under Investigation
Anglian Water | BURNAHM MARKET STW | AEENF/1265F | CSO | Burnham Overy Creek | N/a | 60.3333 | 7 | 100%
Anglian Water | BURNHAM ON CROUCH STW - storm sewage | ASETS10533 | CSO | N/a | N/a | 1726.9333 | 178 | 100% | Changed to alternative monitor type
Anglian Water | BURNHAM ON CROUCH STW - storm sewage | ASETS10533 | CSO | N/A | N/a | 0 | 0 | 100%
Anglian Water | Cambridge - Riverside | AWCNF11361 | CSO | N/a | N/a | 5.9333 | 5 | 50.26% | Comms issue now resolved
Anglian Water | Cambridge STW - storm sewage and settled storm | ASCNF1033 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Clacton - Collingwood Road / Wash Lane CSO | ASECS12233 | CSO | N/a | Clacton Groyne 41/Clacton Martello Tower | 0.1 | 1 | 99.97%
Anglian Water | Clacton - Kings Parade/Hazlemere Road CSO (CLARENDON/HOLLAND OV) | ASECS3328/12234 | CSO | N/a | Clacton | 78.1 | 34 | 28.42% | Comms issue investigation in progress. Challenging access
Anglian Water | Clacton - Martello Tower Pumping Station | ASECS 3330/12236/V001 | CSO | N/a | Clacton Martello Tower | 0.23333 | 1 | 100%
Anglian Water | Clacton - Park Road/Vicarage Road CSO | ASECS12232 | CSO | N/a | Clacton Groyne 41/Clacton Martello Tower | 0.5 | 4 | 99.95%
Anglian Water | Clacton - Sea Front CSO/Gunfleet sea OF | ASECS3324/12230 | CSO | N/a | Clacton | 88.9333 | 75 | 100% | Changed to alternative monitor type
Anglian Water | Clacton - Victoria Road outfall | AW2CS662 | CSO | N/a | Clacton | 0.53333 | 2 | 99.83%
Anglian Water | Clacton - West Road stormwater outfall | ASECS3325/12231/V001 | CSO | N/a | Clacton Martello Tower | 3.9667 | 4 | 100%
Anglian Water | Clacton 23 Park Square, Jaywick | ASENF12237 | CSO | N/a | Jaywick | 22.8 | 8 | 100%
Anglian Water | Clacton Golf Green Rd, Jaywick | ASETS3332/12240 | CSO | N/a | Jaywick | 0.7 | 4 | 99.84%
Anglian Water | Clacton STW Storm & EO | AEECS/12401/V005 | CSO | N/a | Holland | 522.5333 | 119 | 99.99% | EDM location changed. Under further investigation
Anglian Water | Cliff Quay new tunnel (Ipswich tunnel outfall) | ASETS12156 | CSO | N/a | N/a | 5.5333 | 12 | 99.99%
Anglian Water | Colchester - Hunting Gate CSO | ASETS19244 | CSO | Colne, Pyfleet | N/a | 2 | 15 | 98.58%
Anglian Water | Colchester - Hythe Bridge | AW2TSE00863 | CSO | Colne, Pyfleet | N/a | 0.16667 | 1 | 100%
Anglian Water | Colchester - Rowhedge Albion St CSO | ASETS15689 | CSO | Colne | N/a | 0.86667 | 5 | 46.27% | Under Investigation
Anglian Water | Colchester - Rowhedge Regent Court CSO | ASETS3961/15688/V001 | CSO | Colne | N/a | 41.8 | 14 | 100%
Anglian Water | Colchester - Royal London Middleborough EO | ASENF19245 | EO | Colne, Pyfleet | N/a | 0.13333 | 1 | 39.09% | Under Investigation
Anglian Water | Colchester - St Albans Rd CSO (JAMES WICKS COURT MH9301 MM) | ASENF4126/19246 | CSO | Colne, Pyfleet | N/a | 266.97 | 30 | 72.27% | Changed to alternative monitor type
Anglian Water | Colchester STW Settled Storm | ASETS1046 | CSO | Colne, Pyfleet | N/a | 7247.6333 | 342 | 89.36% | EDM location changed
Anglian Water | Cromer - Runton-Middlebrook Lane | AEECS3749/12415 | CSO | N/a | N/a | 7830.2 | 356 | 100% | Under Investigation
Anglian Water | Cromer West Beach Sewage Tank (PROMENADE TPS) | AEECS868/12071 | CSO | N/a | Cromer | 0.4 | 1 | 100%
Anglian Water | East Runton - Beach Rd TPS | AEECS12197 | CSO | N/a | N/a | 3.9333 | 4 | 100%
Anglian Water | Ely - Lisle lane | AECNF10401 | CSO | N/a | N/a | 0.1 | 2 | 100%
Anglian Water | Ely - Willow Walk TPS | AECNF3110/11328 | CSO | N/a | N/a | 1.9 | 2 | 100%
Anglian Water | Ely New STW - settled storm | AWCNF11352 | CSO | N/a | N/a | 8760 | 366 | 100% | Reporting logic resolved. Under further investigation
Anglian Water | Ely Old STW - settled storm | AW1NF1176 | CSO | N/a | N/a | 8.2333 | 55 | 99.99%
Anglian Water | Frinton - Upper Second Avenue - The Close | ASENF12381 | CSO | N/a | Frinton | 40.7667 | 57 | 100%
Anglian Water | Frinton on sea - Ashlyn's Road SPS | AW/2/NF/E087/84/V001 | CSO | N/a | Frinton | 0.33333 | 2 | 100%
Anglian Water | Frinton on sea - Esplanade/Second Ave CSO | ASECS3309/12191 | CSO | N/a | Frinton | 3.3333 | 7 | 99.05%
Anglian Water | Frinton on sea - First Avenue | ASENF12382 | CSO | N/a | Frinton | 29.1 | 5 | 100%
Anglian Water | Frinton on sea - Holland Rd/Second Ave CSO | ASENF3310/12192 | CSO | N/a | Frinton | 43.3333 | 11 | 100%
Anglian Water | Frinton on sea - Queens Road/Esplanade CSO | ASECS3311/12194/V001 | CSO | N/a | Frinton | 0.2 | 2 | 62.1% | Operational issue now resolved
Anglian Water | Goldhanger - Fish Street SPS | AW2NFE10884 | EO | Osea Island | N/a | 0 | 0 | 100%
Anglian Water | Great Wakering - Seaview Est SP | AW2NFE07169 | CSO / EO | Foulness | N/a | 0.33333 | 2 | 100%
Anglian Water | Great Yarmouth - Boundary Road Storm PS | AEETS3291/12173 | CSO | N/a | Great Yarmouth South | 9.4 | 13 | 99.99%
Anglian Water | Gt Yarmouth - Bryants Quay CSO | AEETS3290/12175 | CSO | N/a | Great Yarmouth Pier/Great Yarmouth South | 60.1 | 31 | 99.99%
Anglian Water | Gt Yarmouth-Gorleston - Gt Yarmouth Brush Bend | AEETS4136/12178 | CSO | N/a | Gorleston Beach | 10.0667 | 10 | 99.78%
Anglian Water | Hartford - Hollow Lane (HUNTINGDON-THE HOLLOW SP) | AWCNF2387 | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Hartford Rd CSO | AWCNF11842 | CSO | N/a | N/a | 41.8 | 43 | 100%
Anglian Water | HOLLAND-HAVEN (NEW P S) TPS | ASENF2386 | CSO | N/a | Holland |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Holme next the sea - BEECH RD SPS | AW4NF193X/V001 | EO | North East Wash | N/a | 91.6 | 12 | 100%
Anglian Water | Hunstanton - Smugglers Lane ps | ASENF12024 | CSO / EO | North West Norfolk | N/a | 4.8 | 10 | 99.99%
Anglian Water | Hunstanton Storm Overflow 1 (HUNSTANTON SOUTH END ROAD TPS) | AECCS660/10416/V001 | CSO | N/a | Hunstanton Main Beach | 11.6 | 17 | 100%
Anglian Water | Ingoldmells - Southgate Camp | ANNNF2604/AW3NFF1185 | CSO | N/a | Ingoldsmells South |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Ingoldmells (STW) PS | ANNTS3539/13470/V001 | CSO | N/a | Ingoldsmell South | 101.4333 | 17 | 100%
Anglian Water | Ipswich - Dock Street PS | AW4TS12087 | CSO | N/a | N/a | 22.9667 | 26 | 99.91%
Anglian Water | Ipswich - Portmans Walk tank | ASETS12153/1 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Ipswich - Portmans Walk tank | ASETS12153/2 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Ipswich - Portmans Walk tank | ASETS12153/3 | CSO | N/a | N/a | 106.6 | 49 | 100%
Anglian Water | Ipswich - Stoke Bridge CSO | ASETS12155 | CSO | N/a | N/a | 20.9667 | 14 | 89.81% | Under Investigation
Anglian Water | Ipswich - Wolsey Street PS | AW4TS1427/12083 | CSO | N/a | N/a | 16.0333 | 57 | 98.12%
Anglian Water | Jaywick - Brooklands Gardens PS | ASENF3334/12238 | CSO | N/a | Jaywick | 0.43333 | 3 | 100%
Anglian Water | Jaywick - Lion Point tps SSO | AEENF2758 | CSO | N/a | Jaywick | 0 | 0 | 100%
Anglian Water | Kings Lynn - Gaywood Outfall | AECTS433/11056/V001 | CSO | South East Wash | N/a | 220.5667 | 42 | 100%
Anglian Water | Kings Lynn - Purfleet Quay PS | AECTS677/10467 | CSO / EO | South East Wash | N/a | 46 | 37 | 99.99%
Anglian Water | Kirby Main Maltings sp | ASENF12395 | CSO / EO | Walton Backwaters | N/a | 53.5667 | 62 | 94.61% | EDM location changed
Anglian Water | KIRTON-DRUNKARDS L STW | ASENF/938/12042/V001 | CSO | Deben | N/a | 59.9667 | 7 | 100%
Anglian Water | Lowestoft - Belvedere Road Overflow | ASETS16995 | CSO | N/a | Lowestoft North | 15.9333 | 33 | 100%
Anglian Water | Lowestoft - Boulevard PS & CSO (OULTON BROAD - HOLLY RD TPS) | AW4TS1419/12088 | CSO | N/a | N/a | 10.8333 | 22 | 99.55%
Anglian Water | Lowestoft - Bridge | ASETS2159 | CSO | N/a | Lowestoft North | 354.5333 | 107 | 100% | Operational repair under investigation
Anglian Water | Lowestoft - Marina CSO | ASETS16991 | CSO | N/a | Lowestoft North | 26.4667 | 32 | 99.97%
Anglian Water | Lowestoft - Rotterdam CSO | EPR/LB3996VP/V001 | CSO | N/a | N/a | 4.9333 | 12 | 99.87%
Anglian Water | Lowestoft - Royal Norfolk & Suffolk Yacht Club (Lowestoft Harbour Bridge SP) | AW4TS12090 | CSO | N/a | Lowestoft North | 121.7667 | 82 | 99.76% | Operational repair under investigation
Anglian Water | Lowestoft - St John's Road CSO | ASETS16950 | CSO | N/a | Lowestoft North | 679.7333 | 113 | 14.38% | Reporting logic resolved. Under further investigation
Anglian Water | Lowestoft - Station Square #1 CSO | ASETS16993 | CSO | N/a | Lowestoft North | 8.0333 | 14 | 99.97%
Anglian Water | Lowestoft - Station Square #2 & Commercial Rd CSO | ASETS16994 | CSO | N/a | Lowestoft North | 9.1 | 18 | 99.8%
Anglian Water | LOWESTOFT COMMERICAL RD | ASETS4083/16994/V002 | CSO | N/a | N/a | 11.0667 | 16 | 99.89%
Anglian Water | Mablethorpe - George St Flapvalve | ANNNF892 | CSO | N/a | Mablethorpe Town | 16.7 | 8 | 99.97%
Anglian Water | Maidenhall Storm outfall | AW4TS1429 | CSO | N/a | N/a | 17.7 | 23 | 99.95%
Anglian Water | Maldon - Park Drive | AW2NFE03278 | CSO | N/a | N/a | 66.5 | 18 | 99.35%
Anglian Water | Maldon STW | ASENF1136 | CSO | Osea Island | N/a | 573.5667 | 47 | 100%
Anglian Water | MARTLESHAM SP | AW4NF1828 | CSO / EO | Deben | N/a | 0 | 0 | 99.99%
Anglian Water | Mundesley - The Dell Chalet Park | AEENF10514 | CSO | N/a | Mundesley | 0.66667 | 5 | 80.1% | Investigating alternative monitor type
Anglian Water | Mundesley - The Prom PS | AEECS3350/12196/V001 | CSO | N/a | Mundesley | 0 | 0 | 71.83% | Under Investigation
Anglian Water | Northampton - Becketts Park SSO | AW5NF1832 | CSO | N/a | N/a | 30.8667 | 47 | 100%
Anglian Water | Northampton - Bedford Rd SPS | AW5NF1778 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | NORTHAMPTON ABINGTON TANK SSO | AWNNF3566B | CSO | N/a | N/a | 31.3333 | 12 | 100%
Anglian Water | NORTHAMPTON-BEDFORD ROAD SSO | EPR/JB3297WF | CSO | N/a | N/a | 5.9333 | 16 | 100%
Anglian Water | NORTHAMPTON-BRIDGE ST OV | EPR/JB3297NS | CSO | N/a | N/a | 14.8667 | 27 | 100%
Anglian Water | NORTHAMPTON-DUSTON SYCAMORESSO | AW5NF384/V002 | CSO | N/a | N/a | 120.7 | 54 | 100%
Anglian Water | NORTHAMPTON-LOWER HESTER ST OV | EPR/JB3297AZ | CSO | N/a | N/a | 18.2667 | 18 | 99.97%
Anglian Water | NORTHAMPTON-MH 15, DUSTON | EPR/JB3296RM | CSO | N/a | N/a | 0.033333 | 1 | 100%
Anglian Water | NORTHAMPTON-MILL LANE SSO | EPR/JB3297EW | CSO | N/a | N/a | 0 | 0 | 99.37%
Anglian Water | NORTHAMPTON-SPENCER BRIDGE R | EPR/JB3296WT | CSO | N/a | N/a | 48.3333 | 35 | 100%
Anglian Water | NORTHAMPTON-SWAN ST SSO | EPR/JB3297VH | CSO | N/a | N/a | 0 | 0 | 9.046% | Under Investigation
Anglian Water | NORTHAMPTON-VICTORIA GARDENS | EPR/JB3297RX | CSO | N/a | N/a | 20.1667 | 54 | 100%
Anglian Water | Norwich - Cow Tower CSO | AEETF12149 | CSO | N/a | N/a | 4062.7667 | 174 | 100% | Reporting logic resolved. Under further investigation
Anglian Water | Norwich - King Street | AW4NF519XI | CSO | N/a | N/a | 68.0667 | 60 | 99.98%
Anglian Water | Oundle - Barnwell Rd TPS | AWNNF2127 | CSO | N/a | N/a | 1.9333 | 2 | 100%
Anglian Water | Oundle - East Rd CSO | AWNNF13662 | CSO | N/a | N/a | 62.5333 | 39 | 99.99%
Anglian Water | Oundle - New Rd | AWNNF2492/V001 | CSO | N/a | N/a | 17.0333 | 11 | 100%
Anglian Water | Oundle STW SSO | AW5NF809/V002 | CSO | N/a | N/a | 4348.3667 | 211 | 100% | Operational repair under investigation
Anglian Water | Paglesham East TPS | ASENF2520 | CSO / EO | Upper Roach | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Peldon - SPS at Mersea Road | AW2NFE05472 | EO | Strood Channel | N/a | 17.8667 | 11 | 99.98%
Anglian Water | Peterborough - River Lane SSO | AW5NF1794 | CSO | N/a | N/a | 9.4667 | 43 | 97.25%
Anglian Water | Peterborough - North Minster (PETERBOROUGH-NEW RD/ST J RD CS) | AW5NF620 | CSO | N/a | N/a | 0.033333 | 1 | 97.46%
Anglian Water | Peterborough - Oundle Rd SSO | AW5NF1793 | CSO | N/a | N/a | 24.6 | 7 | 30.09% | Comms issue now resolved
Anglian Water | Prittle Brook Storage Tank | CASM.0076 | CSO | Foulness | N/a | 0 | 0 | 100%
Anglian Water | Ramsey Island - St Lawrence Drive PS | ASENF16188 | CSO / EO | Osea Island/Blackwater | N/a | 0 | 0 | 86.3% | Comms issue now resolved
Anglian Water | Rochford - Depot DP emergency overflow | AW2NFE15272 | EO | Upper Roach | N/a | 14.8667 | 2 | 100%
Anglian Water | Rochford - Depot SP Storm overflow | AW2NFE14472 | CSO | Upper Roach | n/a | 3.3 | 2 | 99.54%
Anglian Water | Rowhedge - High Street PS | AW2NFE06884 | CSO / EO | Colne | N/a | 1.5 | 7 | 100%
Anglian Water | Sea Palling - Clink Road SPS | AW4NF894X | CSO | N/a | Sea Palling | 17.3667 | 6 | 100%
Anglian Water | Sea Palling - Waxham Road SPS | AW4NF895X | CSO | N/a | Sea Palling | 0 | 0 | 100%
Anglian Water | Sheringham East Beach Sewage Tank | AEECS867/12070 | CSO | N/a | Sherringham | 4.1 | 3 | 99.97%
Anglian Water | Southend - Burdett Rd CSO | CASM.0086 | CSO | Foulness | N/a | 1.2667 | 3 | 99.98%
Anglian Water | Southend - Manilla Rd | CASM.0087 | CSO | Foulness | N/a | 16.8 | 5 | 99.99%
Anglian Water | Southwold - South Green SPS (southwold - ferry rd) | AW4TS757X | CSO | N/a | Southwold the Deans | 2.5333 | 2 | 100%
Anglian Water | Southwold - Gard Road PS | ASENF10176 | CSO | N/a | Southwold the Deans | 7.8667 | 17 | 83.47%
Anglian Water | Southwold - Marlborough Rd SSO | AW4NF1768 | CSO | N/a | Southwold the Pier | 0.1 | 1 | 99.99%
Anglian Water | Southwold - North Rd | ASETS2504 | CSO | N/a | Southwold the Pier | 0.26667 | 1 | 91.82%
Anglian Water | Southwold - Station Rd SSO | AW4NF1762 | CSO | N/a | Southwold the Pier | 9.3 | 57 | 100%
Anglian Water | Southwold STW Inlet Pumping Station EO | ASETS/10380/03 | CSO | N/a | N/a | 94.65 | 54 | 99.86%
Anglian Water | Southwold STW Settled Storm | ASETS/10380/02 | CSO | N/a | N/a | 87.8 | 25 | 65.95% | Reporting logic resolved. Under further investigation
Anglian Water | St Ives - Priory Rd | AWCNF2542 | CSO | N/a | N/a | 68.8667 | 35 | 100%
Anglian Water | St Ives - The Quay | AWCNF2663 | CSO | N/a | N/a | 101.6667 | 10 | 100%
Anglian Water | St Ives - The Waits | AWCNF2669 | CSO | N/a | N/a | 174.5 | 15 | 100%
Anglian Water | St Neots - Market Square STO | AW1NF2577 | CSO | N/a | N/a | 146.4333 | 12 | 19.04% | Comms issue now resolved
Anglian Water | St Osyth - Point Clear Rd | AW2NFE01182/V001 | CSO | Colne | N/a | 2092.6 | 117 | 82.52% | Reporting logic resolved. Under further investigation
Anglian Water | St Osyth Mill Dam PS | AW2TSE06363/V001 | EO | Colne | N/a | 0.1 | 2 | 99.97%
Anglian Water | Sudbury - Bailey and Coates | ASENF1728 | CSO | N/a | N/a | 33.9667 | 32 | 100%
Anglian Water | Sudbury - Gt Eastern Rd | ASENF12422 | CSO | N/a | N/a | 19.1667 | 10 | 100%
Anglian Water | Sudbury - The Croft | ASENF1729 | CSO | N/a | N/a | 2.8333 | 14 | 99.98%
Anglian Water | Sudbury STW - settled storm | ASENF1314 | CSO | N/a | N/a | 8760 | 366 | 100% | Reporting logic resolved. Under further investigation
Anglian Water | TETNEY-NEWTON MARSH STW | ANNTS13007/V001 | CSO | N/a | N/a | 230.3 | 77 | 100% | EDM location changed. Under further investigation
Anglian Water | Thrapston SPS | AW5NF/1570 | CSO | N/a | N/a | 23.2 | 7 | 100%
Anglian Water | Tollesbury STW SSO | ASETS1229 | CSO | Tollesbury Channel | N/a | 3773.1667 | 182 | 98.14% | Investigating alternative equipment. Reporting logic resolved
Anglian Water | Towerfields EST. SPS | AW2NFE12684 | EO | Foulness | N/a | 8.3 | 8 | 100%
Anglian Water | Trowse PS | AW4TF777X | CSO | N/a | N/a | 65.9667 | 51 | 100%
Anglian Water | Walton-on-the-Naze TPS | ASECS 3376/12213 | CSO | N/a | Walton | 115.0667 | 59 | 99.9%
Anglian Water | West Mersea - Whittaker Way SPS | AW2NFE08984 | EO | Strood Channel/Blackwater | N/a | 2.0333 | 2 | 100%
Anglian Water | West Mersea STW SSO | ASETS1320/V005 | CSO | N/a | West Mersea | 0 | 0 | 99.81%
Anglian Water | West Runton - Water Lane PS | AEECS12198 | CSO | N/a | N/a | 44.2333 | 24 | 99.99%
Anglian Water | Whitlingham STW - settled storm | AW4TF1789/V001 | CSO | N/a | N/a | 546.3667 | 121 | 91.69% | EDM location changed. Under further investigation
Anglian Water | Woodbridge - Quayside SPS | ASETS/4030/1403 | CSO | Deben | N/a | 4.2333 | 14 | 100%
Anglian Water | Woodbridge - Station road | ASETS16180 | CSO | Deben | N/a | 947.9333 | 56 | 100%
Anglian Water | WOODBRIDGE-CREEK FM STW | ASETS/1250/V002 | CSO | Deben | N/a | 1587.5333 | 110 | 100% | EDM location changed
Anglian Water | WOODBRIDGE-DEBEN RD OV | AW4TS1417 | CSO | Deben | N/a | 16.2667 | 42 | 100%

## EDM2
EDM Return for Anglian Water Annual 2019
Period selected from 01/04/2019 to 31/12/2019
Water Company Name | Site Name | Permit No. | Activity Reference (if more than one discharge) on permit | Shellfishery (Only populate for storm overflows that have Shellfish water EDM requirements) | Bathing Beach (Only populate for storm overflows that have bathing water EDM requirements) | Total Duration (hours) of all spills prior to processing through 12-24 hour counting method | Counted spills using 12-24hr counting method | % of reporting period EDM operational | Comments
Anglian Water | ABTHORPE TPS | AW1NF947 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ANWICK-RIVER LA TPS | ANNNF3244A | CSO | N/a | N/a | 683.5 | 61 | 100% | Operational issue now resolved
Anglian Water | ARRINGTON STW | ASCNF10117B | CSO | N/a | N/a | 3.25 | 7 | 100%
Anglian Water | ASHTON STW | AW1NF1361 AW1NF1362D | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ATTLEBOROUGH-NORWICH RD #2 SP | AECNF782A | CSO | N/a | N/a | 9.5 | 1 | 100%
Anglian Water | BADWELL ASH STW | ASCNF210277G | CSO | N/a | N/a | 432 | 40 | 99.82%
Anglian Water | BARRINGTON-SLID LA #2 OV | AW1NF1380 | CSO | N/a | N/a | 0.75 | 3 | 74.45% | Comms issue now resolved
Anglian Water | BEDFORD STW | AW1NF2460v002 | CSO | N/a | N/a | 1417.75 | 71 | 100% | EDM relocation now resolved. Under further investigation
Anglian Water | BELAUGH STW | AW4TF351v001 | CSO | N/a | N/a | 0.5 | 1 | 100%
Anglian Water | BENFLEET-MARSH TPS | ASENF3952 | CSO | N/a | N/a | 23.5 | 9 | 100%
Anglian Water | BENFLEET STW | AW2TS14NC | CSO | N/a | N/a | 207 | 35 | 100%
Anglian Water | BENHALL STW | ASENF2052E | CSO | N/a | N/a | 449.5 | 56 | 100%
Anglian Water | BIGGLESWADE DARK LANE SSO | AWCNF11839A | CSO | N/a | N/a | 2.25 | 3 | 100%
Anglian Water | BIGGLESWADE-SHORTMEAD ST TPS | AWCNF10469A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BOTTISHAM STW | AW1NF302v001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BRADFIELD-MAYPOLE GREEN PS | AW1NF1275 | CSO | N/a | N/a | 98 | 12 | 100%
Anglian Water | BRANDON STW | AW1NF939/V001 | CSO | N/a | N/a | 0.75 | 2 | 100%
Anglian Water | BRAUNSTON STW | AW5NF694G/1 | CSO | N/a | N/a | 346 | 83 | 100% | Under investigation
Anglian Water | BROUGHTON-TOWNHILL(MH4103) | ANNNF3685 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BUCKINGHAM TOWN SP | AWCNF10471A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BUCKINGHAM- WEST STREET SSO | AWCNF1604A | CSO | N/a | N/a | 0 | 0 | 99.86%
Anglian Water | BUNGAY-BOYSCOTT LA SP | ASENF484 | CSO | N/a | N/a | 15.75 | 8 | 100%
Anglian Water | BUNGAY-EARSHAM STREET SSO | ASENF3938 | CSO | N/a | N/a | 278.25 | 23 | 99.41%
Anglian Water | BUNGAY NETHERGATE ST CSO | ASENF 3930 | CSO | N/a | N/a | 6.5 | 4 | 35.52% | Comms issue now resolved
Anglian Water | BUNGAY-ST JOHNS ROAD SSO | AW4NF1773 | CSO | N/a | N/a | 1.75 | 4 | 99.99%
Anglian Water | BUXTON-COLTISHALL RD TPS | AEENF2225A | CSO | N/a | N/a | 3.75 | 1 | 56.56% | Under investigation
Anglian Water | BYLAUGH-OLD HALL FARM TPS | AW4NF624X/V002 | CSO | N/a | N/a | 10.25 | 16 | 100%
Anglian Water | CAISTER-HEADWORKS PS | AEENF3662 | CSO | N/a | N/a | 104.5 | 13 | 99.91%
Anglian Water | CAISTER - PUMP LANE STW | AEECS3729 AEECS12404B | CSO | N/a | N/a | 182 | 36 | 25.27% | Comms issue now resolved
Anglian Water | CAISTOR STW | AW3NFF232v001 | CSO | N/a | N/a | 2000.75 | 107 | 100% | Under investigation
Anglian Water | CANVEY-FURTHERWICK RD SP | AW2NFE11984 | CSO | N/a | N/a | 19.5 | 3 | 100%
Anglian Water | CANVEY ISLAND STW | ASTTS384A/B B0794D | CSO | N/a | N/a | 5243.25 | 226 | 100% | Under investigation
Anglian Water | CANVEY-NEW RD SP | ASETS2493A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CANVEY-POINT RD SP | ASETS4019 | CSO | N/a | N/a | 4 | 1 | 100%
Anglian Water | CASTLE PT HIGH RD/SOUTHVIEW RD | AW2NFE08862(3) | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CHELMSFORD-BUTTS WAY SP | ASENF540A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CHELMSFORD-GALLEYWOOD RD SP | AEENF3926 | CSO | N/a | N/a | 1.25 | 4 | 33.62% | Comms issue now resolved
Anglian Water | CHELMSFORD-N MLBN CHIGNAL R SP | ASENF2502A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CHELMSFORD STW | AW2TSE9961_<1557l/s | CSO | N/a | N/a | 62.5 | 8 | 100%
Anglian Water | CHELMSFORD STW | AW2TSE9961_>1557l/s | CSO | N/a | N/a | 175.25 | 33 | 100%
Anglian Water | CLOPHILL STW | AWCNF11064B | CSO | N/a | N/a | 31 | 10 | 100%
Anglian Water | COGGESHALL-EAST ST R O #18 OV | AW2NFE02579 | CSO | N/a | N/a | 0 | 0 | 98.84%
Anglian Water | COLCHESTER-EAST BAY MAIN INT | AW2TSE03384 | CSO | N/a | N/a | 3.5 | 7 | 99.96%
Anglian Water | COLCHESTER-HAVEN RD OV | ASETS4123 | CSO | N/a | N/a | 24.5 | 12 | 99.95%
Anglian Water | COLCHESTER-SPRING LA LEXDEN MS | ASENF3627B | CSO | N/a | N/a | 6.75 | 8 | 100%
Anglian Water | COLD NORTON-STOW RD SP | ASENF2637A | CSO | N/a | N/a | 75 | 12 | 100%
Anglian Water | COMBS FORD-COMBS FORD TPS | AW4NF808X | CSO | N/a | N/a | 0 | 0 | 98.34%
Anglian Water | CONINGSBY STW | ANNNF1049B | CSO | N/a | N/a | 1672 | 291 | 100% | EDM relocation now resolved. Under further investigation
Anglian Water | CORBY-STUDFALL AVENUE SSO | AW5NF463 | CSO | N/a | N/a | 9 | 3 | 100%
Anglian Water | CORTON-BAKERS SCORE PS, Corton, Lowestoft, Suffolk | ASETS2120 | CSO | N/a | N/a | 20.5 | 15 | 99.98%
Anglian Water | CORTON-CHURCH LANE SM | ASECS3949 | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | COSGROVE-DOGSMOUTH SO SSO | AWCNF3754 | CSO | N/a | N/a | 344.75 | 37 | 100%
Anglian Water | COTTON VALLEY STW | AWCNF217A | CSO | N/a | N/a | 65.75 | 18 | 100%
Anglian Water | CROWFIELD SP | AW1NF809 | CSO | N/a | N/a | 292.25 | 32 | 100%
Anglian Water | DEANSHANGER SO SSO | AWCNF3724 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DEDHAM STW | ASENF1055/V001 | CSO | N/a | N/a | 441 | 25 | 100%
Anglian Water | DENFORD SP | AWCNF1572 | CSO | N/a | N/a | 62.25 | 11 | 100%
Anglian Water | DERSINGHAM-WOODSIDE CLOSE SP | AEENF2742A | CSO | N/a | N/a | 88.25 | 13 | 100%
Anglian Water | DESBOROUGH-HILLTOP AVENUE SSO | AWNNF3994 | CSO | N/a | N/a | 5.5 | 8 | 100%
Anglian Water | DESBOROUGH-NEAR CORSET FACTO | AWNNF4112 | CSO | N/a | N/a | 21.25 | 35 | 99.5%
Anglian Water | DESBOROUGH-RECTORY FIELD SSO | AW5NF1888 | CSO | N/a | N/a | 73.75 | 27 | 100%
Anglian Water | DESBOROUGH-RUSHTON RD SSO | AW5NF1887 | CSO | N/a | N/a | 0.25 | 1 | 100%
Anglian Water | DESBOROUGH SP | AW5NF689 | CSO | N/a | N/a | 116 | 33 | 100%
Anglian Water | DISS-SARACENS HD MOUNT ST OV | AEENF91766A | CSO | N/a | N/a | 1 | 1 | 99.99%
Anglian Water | DISS STW | AW4NF625/V003 | CSO | N/a | N/a | 291 | 38 | 99.98%
Anglian Water | DOVERCOURT-LOW RD SP | AW2NF382 | CSO | N/a | N/a | 13 | 28 | 93.33%
Anglian Water | DOWNHAM MARKET-DENIS SNZM SSO | AECNF3730 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DOWNHAM MARKET-RAILWAY SSO | AECNF256 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DOWNHAM MKT-LYNN ROAD OV | AECNF260A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DRAUGHTON STW | AW5NF5221C/1 | CSO | N/a | N/a | 1905.75 | 96 | 100% | Under investigation
Anglian Water | EARLS BARTON TPS | AWCNF2266A | CSO | N/a | N/a | 54.75 | 28 | 100%
Anglian Water | ELTON-RIVER LANE TPS | AWNNF2811A | CSO | N/a | N/a | 186.25 | 22 | 100%
Anglian Water | ELTON STW | AWNNF13141B | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ELY-WALSINGHAM WAY OV | AECNF204A | CSO | N/a | N/a | 15 | 20 | 100%
Anglian Water | E TILBURY-BATA(LINFORD) TPS | AW2NFE00981 | CSO | N/a | N/a | 42.75 | 4 | 100%
Anglian Water | FAKENHAM-NORWICH ROAD OV | AEENF889 | CSO | N/a | N/a | 1.75 | 5 | 100%
Anglian Water | FAKENHAM STW (OLD AND NEW) | AEENF3904 AEENF15448B | CSO | N/a | N/a | 50.25 | 13 | 99.98%
Anglian Water | FELTWELL STW | AECNF4447 | CSO | N/a | N/a | 48 | 4 | 100%
Anglian Water | FISHTOFT STW | ANNNF1069B | CSO | N/a | N/a | 373.75 | 53 | 99.96%
Anglian Water | FORNHAM ALL SAINTS STW | ASCNF4547 | CSO | N/a | N/a | 1201.5 | 52 | 100%
Anglian Water | GODMANCHESTER-WHITE HART TPS | AW1NF2281A | CSO | N/a | N/a | 2.25 | 1 | 100%
Anglian Water | GREAT BILLING STW | AWNNF13052V001 | CSO | N/a | N/a | 1725.25 | 125 | 84.66% | Comms issue now resolved Changed EDM monitor type
Anglian Water | GREAT CHESTERFORD STW | AWCNF11340C | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | GRIMSBY-FISH DOCKS SP | ANNTS13404 | CSO | N/a | N/a | 26.25 | 34 | 99.88%
Anglian Water | GT BADDOW-WOOD DALE SP | ASENF3033 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | GT BENTLEY-THORRINGTON RD SP | ASENF563A | CSO | N/a | N/a | 109.25 | 25 | 100%
Anglian Water | GT BRAXTED-COUNCIL HOUSE SP | ASENF2237A | CSO | N/a | N/a | 2 | 1 | 100%
Anglian Water | GT BRINGTON SP | AW5NF5255A | CSO | N/a | N/a | 175.25 | 39 | 100%
Anglian Water | GT WALDINGFIELD-FOLLEY RD SP | ASENF2370A | CSO | N/a | N/a | 23.75 | 5 | 100%
Anglian Water | HALESWORTH STW | ASENF1286C | CSO | N/a | N/a | 71.75 | 15 | 100%
Anglian Water | HALVERGATE-MARSH RD SP | AW4NF928X/1 | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | HARLAXTON STW | ANNNF1093v001 | CSO | N/a | N/a | 2651 | 120 | 100% | Operational issue now resolved
Anglian Water | HARPOLE-WEEDON RD SSO | AW5NF1878A | CSO | N/a | N/a | 963 | 63 | 100% | Under investigation
Anglian Water | HARWICH AND DOVERCOURT STW | ASETS12050D_CSO | CSO | N/a | N/a | 10 | 3 | 100%
Anglian Water | HARWICH AND DOVERCOURT STW | ASETS12050D_SSO | CSO | N/a | N/a | 3.75 | 8 | 100%
Anglian Water | HASLINGFIELD-CSO | ASCNF1094F | CSO | N/a | N/a | 1009.25 | 88 | 99.65% | Under investigation
Anglian Water | HATFIELD PEVEREL-CRABBS HL SM | ASENF915/12034A | CSO | N/a | N/a | 2 | 2 | 88.24%
Anglian Water | HAVERHILL STW | AW2NF342/V002 | CSO | N/a | N/a | 21.5 | 2 | 100%
Anglian Water | HIGHAM FERRERS-NORTHAMPTON RD | AWNNF4105 | CSO | N/a | N/a | 2.5 | 9 | 99.99%
Anglian Water | HITCHIN-BANCROFT REC SSO | AW1NF1886 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | HITCHIN STW | AW1NF/2464_CSO | CSO | N/a | N/a | 936.5 | 52 | 100%
Anglian Water | HITCHIN STW | AW1NF/2464_SSO | CSO | N/a | N/a | 42 | 25 | 100%
Anglian Water | HOLBEACH STW | AW5NF378E/1 | CSO | N/a | N/a | 796.75 | 61 | 100% | Under investigation
Anglian Water | HOLCOT PS | AWNNF2385A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | HOLT-MAIN ROAD STW | AW4NF118AWC | CSO | N/a | N/a | 87.5 | 8 | 100%
Anglian Water | HORHAM TPS | ASENF3039 | CSO | N/a | N/a | 12.5 | 3 | 100%
Anglian Water | HORNCASTLE-BANOVALLUM OV | ANNNF4050 | CSO | N/a | N/a | 361.5 | 27 | 80.21% | Under investigation
Anglian Water | HORNCASTLE-SPORTS GROUND SSO | ANNNF1760C | CSO | N/a | N/a | 817.25 | 52 | 99.88%
Anglian Water | HORNCASTLE-THORNTON LA TPS | ANNNF4061B | CSO | N/a | N/a | 337.75 | 26 | 100%
Anglian Water | HORNING-KNACKERS WOOD STW | AW4NF521V001 | CSO | N/a | N/a | 2639 | 122 | 100% | 3rd party flooding into catchment
Anglian Water | HULLBRIDGE-FERRY RD 2 PS | AW2NFE15768 | CSO | N/a | N/a | 0 | 0 | 99.93%
Anglian Water | HULLBRIDGE-FERRY RD SP | ASETS3917 | CSO | N/a | N/a | 21.25 | 7 | 100%
Anglian Water | HULLBRIDGE-WHITE POST CRNR TPS | AW2NFE18369 | CSO | N/a | N/a | 60 | 6 | 100%
Anglian Water | HUMBERSTONE-HUMBERSTONE RD SSO | ANNNF2313A | CSO | N/a | N/a | 1367 | 85 | 80.06% | Comms issue now resolved. Under further investigation
Anglian Water | HUNTINGDON (GODMANCHESTER) STW | AWCNF1106v001 | CSO | N/a | N/a | 1692 | 73 | 98.58% | EDM relocation now resolved. Under further investigation
Anglian Water | IMMINGHAM SEA OUTFALL | ANNTS3940 | CSO | N/a | N/a | 475.5 | 84 | 99.91% | Under investigation
Anglian Water | INGOLDISTHORPE-SANDY LANE TPS | AECNF719A | CSO | N/a | N/a | 5.75 | 3 | 100%
Anglian Water | INGOLDISTHORPE STW | AECNF1108G | CSO | N/a | N/a | 295.25 | 300 | 98.59% | EDM relocation now resolved. Under further investigation
Anglian Water | INGOLDMELLS STW | ANNCS3740 ANNCS13577V001 | CSO | N/a | N/a | 9.25 | 13 | 99.99%
Anglian Water | IPSWICH-CLIFF QUAY RAEBURN ST | AEETS12128D | CSO | N/a | N/a | 521 | 76 | 100% | Under investigation
Anglian Water | IPSWICH-WHERSTEAD RD SP | AW4TS1431A | CSO | N/a | N/a | 222.5 | 126 | 99.98% | Under investigation
Anglian Water | IPSWICH-YARMOUTH RD BF | ASETS3277 | CSO | N/a | N/a | 20.75 | 33 | 96.48%
Anglian Water | IRCHESTER TPS | AWNNF2403A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | IRTHLINGBOROUGH-CROUCH RD SSO | AW5NF629/4 | CSO | N/a | N/a | 8.5 | 19 | 99.99%
Anglian Water | IRTHLINGBOROUGH SP | AWNNF2404A | CSO | N/a | N/a | 0.75 | 1 | 100%
Anglian Water | ISLIP STW | AW5NF557E/1 | CSO | N/a | N/a | 1346.25 | 78 | 100% | EDM relocation under investigation
Anglian Water | JAYWICK NEW STW | AEECS3728 AEECS12400C | CSO | N/a | N/a | 346.5 | 121 | 99.8% | Under investigation
Anglian Water | KEMPSTON-VILLAGE HALL PS | AW1NF1320 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | KESSINGLAND-MARSH LN STW | AW4NF358XF | CSO | N/a | N/a | 280 | 29 | 99.96%
Anglian Water | KINGS LYNN AUSTIN STREET OV | AECTS543/7 | CSO | N/a | N/a | 0 | 0 | 99.98%
Anglian Water | KINGS LYNN BLACKFRIARS RD OV | AECTS543/6 | CSO | N/a | N/a | 15.75 | 14 | 99.98%
Anglian Water | KINGS LYNN BLACKFRIARS ST OV | AECTS543/5 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | KINGS LYNN-EXTONS PLACE SP | AECTS543/3 | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | KINGS LYNN FERRY STREET OV | AECTS477(1) | CSO | N/a | N/a | 3.75 | 6 | 63.03% | Comms issue now resolved
Anglian Water | KINGS LYNN-FRIARS OV | AW1NF914 | CSO | N/a | N/a | 0 | 0 | 30.69% | Reporting logic resolved
Anglian Water | KINGS LYNN-GAYWOOD OUTFALL 2 OV | AECTS439/11057 | CSO | N/a | N/a | 205.75 | 37 | 100%
Anglian Water | KINGS LYNN GAYWOOD ROAD OV | AECTS543/14 | CSO | N/a | N/a | 2.25 | 3 | 100%
Anglian Water | KINGS LYNN GOODWINS ROAD OV | AECTS543/2 | CSO | N/a | N/a | 3.5 | 5 | 99.71%
Anglian Water | KINGS LYNN-HIGHGATE OV | AECNF740A | CSO | N/a | N/a | 41.75 | 6 | 99.99%
Anglian Water | KINGS LYNN KING GEORGE V AV OV | AECTS543/11 | CSO | N/a | N/a | 0.5 | 2 | 100%
Anglian Water | KINGS LYNN LOKE ROAD EAST OV | AECTS543/15 | CSO | N/a | N/a | 9 | 10 | 100%
Anglian Water | KINGS LYNN-MILLFLEET SO1 OV | AW1NF1040 | CSO | N/a | N/a | 70.25 | 56 | 97.02%
Anglian Water | KINGS LYNN-MILLFLEET SO2 OV | AW1NF1041 | CSO | N/a | N/a | 200.25 | 89 | 98.99% | Under investigation
Anglian Water | KINGS LYNN-MILLFLEET SO3 OV | AW1NF1042 | CSO | N/a | N/a | 0 | 0 | 63.11% | Under investigation
Anglian Water | KINGS LYNN-NAR LANE SP | AECTS543/10364 | CSO | N/a | N/a | 76 | 53 | 100%
Anglian Water | KINGS LYNN PAGESTAIR LANE OV | AECTS477(4) | CSO | N/a | N/a | 0.5 | 2 | 99.93%
Anglian Water | KINGS LYNN-SADDLEBOW RD OV | AW1NF911 | CSO | N/a | N/a | 523 | 66 | 100% | Under investigation
Anglian Water | KINGS LYNN STW | AECTS11334E | CSO | N/a | N/a | 5.75 | 9 | 100%
Anglian Water | KINGS LYNN TENNYSON AV (N) OV | AECTS543/12 | CSO | N/a | N/a | 9.5 | 10 | 99.96%
Anglian Water | KINGS LYNN TENNYSON AV (S) OV | AECTS543/10 | CSO | N/a | N/a | 4.25 | 7 | 98.31%
Anglian Water | KINGS LYNN TENNYSON RD OV | AECTS543/4 | CSO | N/a | N/a | 32.5 | 34 | 99.99%
Anglian Water | KINGS LYNN TUESDAY MKT PL OV | AECTS477(2) | CSO | N/a | N/a | 0.5 | 2 | 100%
Anglian Water | KINGS LYNN WATER LANE OV | AECTS477(3) | CSO | N/a | N/a | 0.25 | 1 | 100%
Anglian Water | KINGS LYNN WOOTTON QE AV OV | AECTS543/18 | CSO | N/a | N/a | 83 | 28 | 99.96%
Anglian Water | KINGS LYNN WOOTTON RIVER LN OV | AECTS543/16 | CSO | N/a | N/a | 4 | 4 | 99.72%
Anglian Water | KISLINGBURY SP | AWCNF4020 | CSO | N/a | N/a | 8.25 | 14 | 100%
Anglian Water | LACEBY-CAISTOR ROAD #1 SSO | ANNNF2284A | CSO | N/a | N/a | 410.25 | 55 | 72.7% | Under investigation
Anglian Water | LATCHINGDON STW | AW2NFE17367D | CSO | N/a | N/a | 274.25 | 49 | 99.65%
Anglian Water | LAVENDON STW | AW1NF1012C | CSO | N/a | N/a | 434.75 | 85 | 100% | EDM relocation under investigation
Anglian Water | LEIGHTON BUZD-CHAINBRIDGE SP | AWCNF3453 | CSO | N/a | N/a | 1 | 1 | 100%
Anglian Water | LEIGHTON LINSLADE STW | AW1NF410 AWCNF10415/V002 | CSO | N/a | N/a | 148.75 | 10 | 100%
Anglian Water | LEISTON-MAIN ST(1) | ASENF4032/7 | CSO | N/a | N/a | 1.75 | 5 | 99.87%
Anglian Water | LEISTON-MAIN ST(2) | ASENF4032/8 | CSO | N/a | N/a | 1.25 | 4 | 99.98%
Anglian Water | LEISTON-MAIN STREET(3) | ASENF4032/9 | CSO | N/a | N/a | 5 | 9 | 100%
Anglian Water | LEISTON-VALLEY RD STW | ASENF1122D/1 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LEISTON-VALLEY ROAD/CROWN STREET | ASENF4032/10 | CSO | N/a | N/a | 5.5 | 12 | 99.99%
Anglian Water | LEISTON-VALLEY ROAD/CROWN STREET(2) | ASENF4032/11 | CSO | N/a | N/a | 73.25 | 51 | 100%
Anglian Water | LEISTON-WATERLOO AVENUE (1) | ASENF4032 | CSO | N/a | N/a | 9.5 | 19 | 99.99%
Anglian Water | LEISTON-WATERLOOAVENUE/PARK HILL (1) | ASENF4032/2 | CSO | N/a | N/a | 26 | 27 | 99.99%
Anglian Water | LEISTON-WATERLOO AVENUE/PARK HILL(2) | ASENF4032/5 | CSO | N/a | N/a | 6.75 | 9 | 99.93%
Anglian Water | LEISTON - WATERLOO PARK(2) | ASENF4032/1 | CSO | N/a | N/a | 15.25 | 22 | 100%
Anglian Water | LETCHWORTH-NORTON COMMON SSO | AW1NF805 | CSO | N/a | N/a | 3.5 | 4 | 100%
Anglian Water | LETCHWORTH STW | AWCNF1123v001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LINTON STW | ASCNF1125E | CSO | N/a | N/a | 22.75 | 22 | 99.99%
Anglian Water | LITTLE IRCHESTER SP | AWNNF4113 | CSO | N/a | N/a | 197 | 20 | 100%
Anglian Water | LITTLEPORT-FRIARS WY WIS RD | AECNF3106 | CSO | N/a | N/a | 6 | 17 | 99.91%
Anglian Water | LITTLEPORT-HOOF CLOSE SSO | AECNF3123A | CSO | N/a | N/a | 35.75 | 43 | 99.97%
Anglian Water | LITTLEPORT, PONT'S HILL | AECNF206B/3 | CSO | N/a | N/a | 17 | 12 | 99.91%
Anglian Water | LITTLEPORT-WISBECH ROAD TPS | AECNF206B/2 | CSO | N/a | N/a | 17 | 12 | 99.71%
Anglian Water | LODDON-KNAPPS BRIDGE SP | EPR/DP3728GJ/V2 | CSO | N/a | N/a | 8.25 | 2 | 100%
Anglian Water | LOUTH-BRACKENBOROUGH RD SSO | ANNNF3594V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LOUTH-BRIDGE ST SSO | ANNNF3593V001 | CSO | N/a | N/a | 98.5 | 44 | 99.63%
Anglian Water | LOUTH-BROADBANK SSO | ANNNF3587V001 | CSO | N/a | N/a | 509.75 | 55 | 99.98%
Anglian Water | LOUTH-CHURCH LIGHTS SSO | ANNNF/3592/13590/V002 | CSO | N/a | N/a | 8.5 | 4 | 99.99%
Anglian Water | LOUTH-GRAYS ROAD SSO | ANNNF3583V001 | CSO | N/a | N/a | 100.25 | 36 | 86.09% | Comms issue now resolved
Anglian Water | LOUTH-GRIMSBY RD CISTERN SSO | ANNNF3588V001 | CSO | N/a | N/a | 94 | 23 | 99.93%
Anglian Water | LOUTH-JAMES ST SSO | ANNNF3590E | CSO | N/a | N/a | 26.5 | 18 | 99.95%
Anglian Water | LOUTH-KENWICK ROAD SSO | ANNNF1763A | CSO | N/a | N/a | 5 | 4 | 79.19% | Comms issue now resolved
Anglian Water | LOUTH-NEWBRIDGE HILL SSO | ANNNF3591V001 | CSO | N/a | N/a | 36.75 | 19 | 99.99%
Anglian Water | LOUTH-RAMSGATE SSO | ANNNF3585V001 | CSO | N/a | N/a | 19.25 | 38 | 99.96%
Anglian Water | LOUTH SPAW LANE SSO | ANNNF3589V002 | CSO | N/a | N/a | 1096.5 | 139 | 99.99% | Ground water entering in storm events
Anglian Water | LOUTH STW | ANNNF1131D | CSO | N/a | N/a | 332.5 | 38 | 99.97%
Anglian Water | LOWESTOFT-ST PETER'S ST/YEOVIL RD | ASETS16977/2 | CSO | N/a | N/a | 0.25 | 1 | 54.86% | Under investigation
Anglian Water | LUDHAM-WOMACK STAITHE TPS | AEENF895 AEENF894 | CSO | N/a | N/a | 1.25 | 1 | 100%
Anglian Water | MABLETHORPE STW | ANNNF13149 | CSO | N/a | N/a | 171 | 17 | 100%
Anglian Water | MABLETHORPE STW | ANNNF13149E_ST10 | CSO | N/a | N/a | 96.75 | 12 | 100%
Anglian Water | MABLETHORPE STW | ANNNF13149_ST9 | CSO | N/a | N/a | 98.25 | 11 | 100%
Anglian Water | MANTHORPE MILL SP | ANNNF851/13024_outlet 1 | CSO | N/a | N/a | 2513.25 | 125 | 100% | EDM relocation under investigation
Anglian Water | MANTHORPE-MILL SP | ANNNF851/13024_outlet 2 | CSO | N/a | N/a | 171.5 | 62 | 100% | EDM relocation under investigation
Anglian Water | MARCH-CREEK RD/ST JOHNS RD OV | AECNF3511 | CSO | N/a | N/a | 9.5 | 7 | 100%
Anglian Water | MARCH-DARTFORD/ELLIOTT RD OV | AECNF3512 | CSO | N/a | N/a | 172.5 | 15 | 100%
Anglian Water | MARCH-ELLIOT RD OV | AW1NF3189 | CSO | N/a | N/a | 1.25 | 1 | 99.98%
Anglian Water | MARCH-ELWYN RD/EL CT OV | AECNF3513 | CSO | N/a | N/a | 54.75 | 11 | 99.99%
Anglian Water | MARCH-WINDSOR DRIVE OV | AECNF3514 | CSO | N/a | N/a | 964.5 | 72 | 96.21% | Under investigation
Anglian Water | MARKET HARBOROUGH-RIVERSIDESSO | AW5NF1798 | CSO | N/a | N/a | 5195.75 | 221 | 100% | Reporting logic under further investigation
Anglian Water | MARKET RASEN-CAISTOR ROAD OV | ANNNF3266E | CSO | N/a | N/a | 117.5 | 34 | 99.97%
Anglian Water | MAYLANDSEA STW | ASETS10531C | CSO | N/a | N/a | 5404 | 216 | 56.66% | EDM relocation now resolved
Anglian Water | MELBOURN STW | AW1NF934C | CSO | N/a | N/a | 45.5 | 21 | 100%
Anglian Water | MELTON CONSTABLE-BURGH BECK SP | AEENF3883 | CSO | N/a | N/a | 17 | 2 | 100%
Anglian Water | MILDENHALL STW | ASCNF11025/V001 | CSO | N/a | N/a | 266 | 23 | 98.67%
Anglian Water | MISTLEY QUAY-HIGH ST SP | ASETS2836A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | MUNDESLEY-KNAPTON RD OUTFALL | AEECS3731 | CSO | N/a | N/a | 116.75 | 25 | 100%
Anglian Water | MUNDFORD STW | AECNF2080v001 | CSO | N/a | N/a | 339.25 | 56 | 99.95%
Anglian Water | NASSINGTON STW | AW5NF141D | CSO | N/a | N/a | 10 | 7 | 100%
Anglian Water | NASSINGTON TPS | AWNNF3725 | CSO | N/a | N/a | 54 | 17 | 100%
Anglian Water | NEWNHAM STW (NORTHANTS) | AW5NF400v001 | CSO | N/a | N/a | 1821 | 98 | 100% | Under investigation
Anglian Water | NEWPORT PAGNELL-WILLEN RD TPS | AW1NF3235 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | NEWTON FLOTMAN-MAIDS HEAD TPS | AW4NF890X | CSO | N/a | N/a | 63.75 | 20 | 100%
Anglian Water | NEWTON LONGVILLE-WHADDON RD SP | AWCNF3755 | CSO | N/a | N/a | 193.75 | 47 | 100%
Anglian Water | NORMANBY-PARK SP | ANNNF3482 | CSO | N/a | N/a | 44.75 | 19 | 100%
Anglian Water | NORTHAMPTON-MALCOLM DRIVE SSO | AW5NF4336 | CSO | N/a | N/a | 13.5 | 11 | 99.98%
Anglian Water | NORTH COTES STW | ANNNF1298B | CSO | N/a | N/a | 1.5 | 4 | 100%
Anglian Water | NORTHILL-ICKWELL ROAD SP | AW1NF368 | CSO | N/a | N/a | 40 | 4 | 100%
Anglian Water | NORTH THORESBY STW | ANNNF418A ANNNF10292B | CSO | N/a | N/a | 270 | 28 | 98.78%
Anglian Water | NORTH WALSHAM-BLUEBELL RD OV | AEENF3132 | CSO | N/a | N/a | 33.75 | 17 | 98.7%
Anglian Water | NORWICH-BARRACK STREET SSO | AW4NF519X(7) | CSO | N/a | N/a | 0 | 0 | 95.31%
Anglian Water | NORWICH - BISHOPBRIDGE ROAD | AW4NF548XC | CSO | N/a | N/a | 128.5 | 15 | 100%
Anglian Water | NORWICH, BRACONDALE CSO | AW4TF777XB/1 | CSO | N/a | N/a | 130.75 | 20 | 59.2% | Reporting logic resolved
Anglian Water | NORWICH - CHALK HILL RD | AW4NF548XE | CSO | N/a | N/a | 3719.75 | 156 | 100% | Under investigation
Anglian Water | NORWICH, ELM HILL SSO | AW4NF519X(5) | CSO | N/a | N/a | 5931.75 | 249 | 100% | Under investigation
Anglian Water | NORWICH-GIBRALTAR GARDENS CSO | AEENF3467 | CSO | N/a | N/a | 83.25 | 23 | 95.23%
Anglian Water | NORWICH - KETTS HILL | AW4NF548XB | CSO | N/a | N/a | 1.5 | 4 | 97.75%
Anglian Water | NORWICH-KING STREET SSO #2 | AW4NF519X(9) | CSO | N/a | N/a | 6.75 | 12 | 99.08%
Anglian Water | NORWICH-NEW MILLS SSO | AW4NF519X(2) | CSO | N/a | N/a | 7 | 1 | 98.18%
Anglian Water | NORWICH-PEACOCK STREET SSO | AW4NF519X(6) | CSO | N/a | N/a | 6600 | 276 | 100% | Under investigation
Anglian Water | NORWICH - RIVER LANE | AW4NF548XA | CSO | N/a | N/a | 2 | 6 | 99.95%
Anglian Water | NORWICH - ROSARY ROAD | AW4NF548XD | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | OAKHAM STW | AW5NF5211_CSO | CSO | N/a | N/a | 351.25 | 73 | 100% | Changed to alternative monitor type. Under further investigation
Anglian Water | OAKHAM STW | AW5NF5211_SSO | CSO | N/a | N/a | 98.75 | 18 | 100%
Anglian Water | ODELL STW | AW1NF1081E | CSO | N/a | N/a | 39.75 | 6 | 100%
Anglian Water | PAGLESHAM-CHURCH END SP | ASENF454 | CSO | N/a | N/a | 19.75 | 6 | 100%
Anglian Water | PAGLESHAM-WEST TPS | ASENF455 | CSO | N/a | N/a | 84.25 | 12 | 100%
Anglian Water | PETBORO-ORTON MERE SP | AW5NF567 | CSO | N/a | N/a | 7.25 | 1 | 100%
Anglian Water | PETBORO-WERRTON LINCOLN RD SSO | AW5NF1818 | CSO | N/a | N/a | 9.5 | 2 | 100%
Anglian Water | PETERBOROUGH FLAG FEN | AW5NF5178_3DWF | CSO | N/a | N/a | 7162.25 | 335 | 98.58% | Under investigation
Anglian Water | PETERBOROUGH FLAG FEN | AW5NF5178_6DWF | CSO | N/a | N/a | 6041 | 265 | 100% | Under investigation
Anglian Water | PETERBOROUGH FLAG FEN | AWNNF3614_8DWF | CSO | N/a | N/a | 236 | 21 | 100%
Anglian Water | PIRTON TPS | AWENF2531A | CSO | N/a | N/a | 573.25 | 32 | 100%
Anglian Water | PITSEA STW | CSSC.4457B | CSO | N/a | N/a | 28 | 19 | 99.98%
Anglian Water | POPPYHILL STW | AW1NF2418v001 | CSO | N/a | N/a | 106.75 | 9 | 100%
Anglian Water | Promenade Sewer Storage Tank, Overstrand, Norfolk | AEECS12053 | CSO | N/a | N/a | 2.25 | 1 | 99.98%
Anglian Water | SAFFRON WALDEN STW | ASCNF1184v001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | SAFFRON WALDEN-VICTORIA THX OV | ASCNF93138A | CSO | N/a | N/a | 0.5 | 2 | 99.85%
Anglian Water | SANDY-GIRTFORD SSO | AWCNF1630A | CSO | N/a | N/a | 20.5 | 12 | 98.83%
Anglian Water | SANDY-HIGH STREET SSO | AWCNF1684A | CSO | N/a | N/a | 69 | 79 | 99.88% | Under investigation
Anglian Water | SAXILBY-HIGH ST/MANOR RD SSO | AW3NF838 | CSO | N/a | N/a | 117.5 | 28 | 100%
Anglian Water | SAXILBY-HIGH ST/WEST BANK SSO | AW3NF837 | CSO | N/a | N/a | 72.5 | 22 | 99.97%
Anglian Water | S BENFLEET-HALL FARM RD SP | AW2NFE08862(4) | CSO | N/a | N/a | 18 | 28 | 100%
Anglian Water | SCAWBY SEWER SSO | AW3NFF795 | CSO | N/a | N/a | 37 | 13 | 100%
Anglian Water | SIBLE HEDINGHAM-ALDERFORD ST | AW2NFE36066/3 | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | SILVERSTONE STW | AWCNF1191/V001 | CSO | N/a | N/a | 1080 | 66 | 100% | Under investigation
Anglian Water | SKELLINGTHORPE, LINCOLN RD CSO | ANNNF3543 | CSO | N/a | N/a | 46.5 | 13 | 99.97%
Anglian Water | SOHAM-CHERRY TREE SP | AECNF3534 | CSO | N/a | N/a | 0.25 | 1 | 94.99%
Anglian Water | SOHAM STW | AECNF1195/V002 | CSO | N/a | N/a | 376 | 27 | 100%
Anglian Water | SOUTHEND-EASTWOOD PK SOUTH SSO | AW2NFE03958 | CSO | N/a | N/a | 4.5 | 6 | 90.11%
Anglian Water | SOUTHEND-LEIGH BF CSO | ASTTS3458/9 | CSO | N/a | N/a | 11 | 4 | 99.81%
Anglian Water | SOUTHEND-PRIORY CRESCENT SSO | AW2NFE05183 | CSO | N/a | N/a | 1 | 1 | 99.56%
Anglian Water | SOUTHEND-ROCHFORD RD SSO | AW2NFE05483A | CSO | N/a | N/a | 3 | 1 | 69.3% | Comms issue now resolved
Anglian Water | SOUTHEND-VICTORIA AVE SSO | AW2NFE17964D | CSO | N/a | N/a | 16.25 | 10 | 90.74%
Anglian Water | SOUTHEND-VICTORIA W'F TANK CSO | ASTTS3458/2 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | SPALDING-ALBION STREET SP | AW5NF665 | CSO | N/a | N/a | 0 | 0 | 99.96%
Anglian Water | STALHAM STORMWATER | AW4NF174X | CSO | N/a | N/a | 0.75 | 1 | 100%
Anglian Water | STAMFORD-HUDDS MILL TPS | AW5NF1780 | CSO | N/a | N/a | 366.5 | 23 | 100%
Anglian Water | STIBBINGTON STW | AW5NF315B | CSO | N/a | N/a | 513.75 | 26 | 100%
Anglian Water | SWAFFHAM STW | AW1NF1077G/1 | CSO | N/a | N/a | 34.5 | 25 | 99.95%
Anglian Water | SWANBOURNE STW | AWCNF11010C | CSO | N/a | N/a | 285.5 | 23 | 100%
Anglian Water | SYWELL SP | AW5NF1772 | CSO | N/a | N/a | 30 | 22 | 100%
Anglian Water | TOWCESTER STW | AW1NF63v001 | CSO | N/a | N/a | 708 | 67 | 100% | Under investigation
Anglian Water | TOWCESTER TPS | AW1NF1178 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WATTON-SWAFFHAM ROAD TPS | AECNF4077 | CSO | N/a | N/a | 20.25 | 6 | 56.29% | Operational issue now resolved
Anglian Water | WELLINGBOROUGH-CHESTER ROAD | AW5NF1805 | CSO | N/a | N/a | 1 | 2 | 99.98%
Anglian Water | WELLINGBOROUGH-MARKET ST SSO | AW5NF1804 | CSO | N/a | N/a | 92.5 | 55 | 78.33% | Comms issue under investigation
Anglian Water | WHADDON STW | AWCNF11058v001 | CSO | N/a | N/a | 768.75 | 50 | 100%
Anglian Water | WICKHAM MARKET STW | ASENF10537C | CSO | N/a | N/a | 546.75 | 36 | 100%
Anglian Water | WINTERINGHAM-STATION FARM SSO | ANNNF3147 | CSO | N/a | N/a | 1541 | 171 | 100% | EDM relocation now resolved. Under further investigation
Anglian Water | WOLVERTON RAIL FREIGHT MD SSO | AW1NF121A | CSO | N/a | N/a | 1.25 | 3 | 100%