## investment
Raunds STW - RAUNST Total Capital spend since year 2000
4120243.83
Year | Expenditure | Improvements made | Additional DWF capacity
2000 | 1915.51 | IMPROVE DEWATERING | NO
2000 | 975351.43 | RIVER QUALITY IMPROVEMENTS
2000 | 38080.07 | ASSET SURVEY | No
2001 | 33864.53 | ASSET ENGINEERING SCHEMES
2001 | 832.48 | SUPPLY FOR PUMPING STATION | No
2002 | 808.67 | INSPECTION | No
2003 | 5052.4 | LEVEL CONTROLS FOR SLUDGE HOLDING TANK | No
2004 | 24455.53 | REMEDIAL WORKS | No
2004 | 6286.96 | INLET SCREEN REPAIR | No
2004 | 17974.37 | INSTALL STANDPIPE AND TANK | No
2004 | 1833.1 | SENSOR TO SCREEN INSPECT & TEST | No
2006 | 21365.66 | New Rotorks to valves | No
2006 | 9915.23 | Replace Sludge Transfer Pumps | No
2008 | 3908.41 | Replace ABS pump | No
2008 | 5483.72 | Inlet screen refurbishment | No
2008 | 5832 | Sand Filter replace BLOWER UNIT | No
2009 | 121551.94 | P removal plant concrete base slab | No
2009 | 225739.13 | Phosphate removal Plant Gee&co | No
2010 | 7074.68 | Replace 3 x Chamber Valves | No
2010 | 1369.36 | Replace gratings & secure | No
2011 | 4045.5 | Replace 2x ABS pump | No
2012 | 4546.42 | Improve Access Road, Speed Bumps | No
2013 | 22724.36 | GRP Flume to replace old concrete flume | No
2013 | 13173.44 | PT scum boards refurb | No
2013 | 6228.44 | Replace 4x scrapers blades | No
2014 | 10738.93 | PLC upgrade | No
2014 | 2373.6 | BRUSH REPLACEMENT | No
2014 | 7674.18 | REPLACE CATENARY CABLE PST | No
2014 | 1225.02 | Replace pump 3.1kw | No
2014 | 2773.04 | REPLACE PUMP 6KW | No
2014 | 4011.22 | REPLACE 1 X 16KW PUMP | No
2014 | 2416.92 | FILTER ARMS END CAP REPLACE | No
2014 | 9178.09 | INLET SCREEN COMPACTOR REFURB | No
2014 | 3357.1 | SAS P NF X KW PUMP | No
2015 | 1794.26 | 2x Pump Refurb | No
2015 | 12254.83 | 3x de-sludge pumps Refurb | No
2015 | 3114.06 | DESLUDGE PUMP REFURB | No
2016 | 10352.17 | Pump replacement | No
2016 | 23505.43 | STEP SCREEN REFURB | No
2016 | 2208.19 | BLOWER REFURB | No
2017 | 13422.25 | Pump replacement | No
2017 | 15109.71 | New Storm Screen | No
2017 | 6797.97 | GEARBOX REPLACEMENT | No
2017 | 2212.7 | SCUM BOX REPLACEMENT | No
2017 | 11297.96 | Storm Valve Chamber Cover Rpl | No
2017 | 3771.93 | WRNI MCERT 3 FLOW METER | No
2017 | 3889.06 | Wet well Tank Refurb | No
2017 | 2845.53 | Submersible Pump replacement | No
2019 | 3762.74 | DESLUDGE VALVE RFB | No
2019 | 3548.09 | Pump replacement | No
2020 | 3084 | Pump replacement | No
2020 | 10442.61 | Raunds Growth | No
2020 | 64349.09 | access grid | No
2020 | 7619.99 | crane pad | No
2020 | 48638.72 | ducting | No
2020 | 403973.95 | filterarm replace | No
2020 | 105932 | flow meters | No
2020 | 3856.87 | Operational Site Kitchen Refurb | No
2020 | 21167.33 | Raunds WRC MCC | No
2020 | 272830.26 | Media Replacement | No
2020 | 5832.04 | Raunds WRC roadway | No
2021 | 3677.84 | WRC SCREENS HANDLING | No
2021 | 2126.93 | VALVE SYSTEM Refurb | No
2022 | 2604.18 | Actuator Replace | No
2022 | 12392.13 | Gearbox Refurb | No
2022 | 6897.62 | Screen Refurb | No
2022 | 17326.99 | Screen Refurb | No
2023 | 54704.58 | PIPEWORK REPLACEMENT | No
2023 | 23393.01 | VALVES REPLACEMENT | No
2024 | 3927 | Pump replacement | No
2025-2029 | 306020.86 | RIVER QUALITY IMPROVEMENTS - WFD ND Ammonia | No
2025-2029 | 1016397.51 | RIVER QUALITY IMPROVEMENTS - WFD_IMP_CHEM Cypermetherin | No