## Thurleigh
Sampler_Name | Sample_Type | Sample_Point | Sample_Date | Sample_Time | Purpose | Material | Sampling_Mechanism | Lab_Reference | Lab_Secondary | Sample_Comment | Lab_Name | Analysis_Date | Analysis_Time | Depth_Value_Recorded | Depth_Value | Depth_Units | Depth_Relative | Purged_Volume_Recorded | Purged_Volume | Purged_Volume_Units | Determinand | Result_Type | Result_Value | Result_Units | Qualifier | Det_Comment | Customer_Number | Customer_Ref | Found | Import_date
AWS | C | STHURLEIG | 2020-01-29 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 036905 |  | NONE | AWS Huntingdon | 2020-01-29 | 23:59:59 | [7 empty] | Temperature | E | 6.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-01-29 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 036905 |  | NONE | AWS Huntingdon | 2020-01-30 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.71 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-01-29 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 036905 |  | NONE | AWS Huntingdon | 2020-01-30 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-01-29 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 036905 |  | NONE | AWS Huntingdon | 2020-01-30 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 7 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-02-07 | 08:13:00 | OSM | Treated Sewage Effluent | Spot | 060474 |  | NONE | AWS Huntingdon | 2020-02-07 | 23:59:59 | [7 empty] | Temperature | E | 6.6 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-02-07 | 08:13:00 | OSM | Treated Sewage Effluent | Spot | 060474 |  | NONE | AWS Huntingdon | 2020-02-10 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.40 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-02-07 | 08:13:00 | OSM | Treated Sewage Effluent | Spot | 060474 |  | NONE | AWS Huntingdon | 2020-02-10 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-02-07 | 08:13:00 | OSM | Treated Sewage Effluent | Spot | 060474 |  | NONE | AWS Huntingdon | 2020-02-10 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 12 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-05-21 | 07:20:00 | OSM | Treated Sewage Effluent | Spot | 223558 |  | NONE | AWS Huntingdon | 2020-05-21 | 23:59:59 | [7 empty] | Temperature | E | 14.2 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-05-21 | 07:20:00 | OSM | Treated Sewage Effluent | Spot | 223558 |  | NONE | AWS Huntingdon | 2020-05-22 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.23 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-05-21 | 07:20:00 | OSM | Treated Sewage Effluent | Spot | 223558 |  | NONE | AWS Huntingdon | 2020-05-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-05-21 | 07:20:00 | OSM | Treated Sewage Effluent | Spot | 223558 |  | NONE | AWS Huntingdon | 2020-05-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 4 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-04-14 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 163299 |  | NONE | AWS Huntingdon | 2020-04-14 | 23:59:59 | [7 empty] | Temperature | E | 10.5 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-04-14 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 163299 |  | NONE | AWS Huntingdon | 2020-04-15 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.42 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-04-14 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 163299 |  | NONE | AWS Huntingdon | 2020-04-15 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-04-14 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 163299 |  | NONE | AWS Huntingdon | 2020-04-15 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 5 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-03-16 | 07:46:00 | OSM | Treated Sewage Effluent | Spot | 121887 |  | NONE | AWS Huntingdon | 2020-03-17 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-03-16 | 07:46:00 | OSM | Treated Sewage Effluent | Spot | 121887 |  | NONE | AWS Huntingdon | 2020-03-17 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 5.46 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-03-16 | 07:46:00 | OSM | Treated Sewage Effluent | Spot | 121887 |  | NONE | AWS Huntingdon | 2020-03-16 | 23:59:59 | [7 empty] | Temperature | E | 8.3 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-03-16 | 07:46:00 | OSM | Treated Sewage Effluent | Spot | 121887 |  | NONE | AWS Huntingdon | 2020-03-17 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 8 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-06-04 | 08:20:00 | OSM | Treated Sewage Effluent | Spot | 255862 |  | NONE | AWS Huntingdon | 2020-06-04 | 23:59:59 | [7 empty] | Temperature | E | 14.6 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-06-04 | 08:20:00 | OSM | Treated Sewage Effluent | Spot | 255862 |  | NONE | AWS Huntingdon | 2020-06-05 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.56 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-06-04 | 08:20:00 | OSM | Treated Sewage Effluent | Spot | 255862 |  | NONE | AWS Huntingdon | 2020-06-05 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-06-04 | 08:20:00 | OSM | Treated Sewage Effluent | Spot | 255862 |  | NONE | AWS Huntingdon | 2020-06-05 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 7 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-07-06 | 07:29:00 | OSM | Treated Sewage Effluent | Spot | 306980 |  | NONE | AWS Huntingdon | 2020-07-06 | 23:59:59 | [7 empty] | Temperature | E | 15.4 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-07-06 | 07:29:00 | OSM | Treated Sewage Effluent | Spot | 306980 |  | NONE | AWS Huntingdon | 2020-07-07 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.31 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-07-06 | 07:29:00 | OSM | Treated Sewage Effluent | Spot | 306980 |  | NONE | AWS Huntingdon | 2020-07-07 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-07-06 | 07:29:00 | OSM | Treated Sewage Effluent | Spot | 306980 |  | NONE | AWS Huntingdon | 2020-07-07 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 4 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-12 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 363700 |  | NONE | AWS Huntingdon | 2020-08-12 | 23:59:59 | [7 empty] | Temperature | E | 19.7 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-12 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 363700 |  | NONE | AWS Huntingdon | 2020-08-13 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.534 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-12 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 363700 |  | NONE | AWS Huntingdon | 2020-08-13 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 0.93 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-12 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 363700 |  | NONE | AWS Huntingdon | 2020-08-13 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 7 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-23 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 378322 |  | None | AWS Huntingdon | 2020-08-23 | 23:59:59 | [7 empty] | Temperature | E | 16.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-23 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 378322 |  | None | AWS Huntingdon | 2020-08-24 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-23 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 378322 |  | None | AWS Huntingdon | 2020-08-24 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.04 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-08-23 | 07:39:00 | OSM | Treated Sewage Effluent | Spot | 378322 |  | None | AWS Huntingdon | 2020-08-24 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 2 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-16 | 07:25:00 | OSM | Treated Sewage Effluent | Spot | 473140 |  | NONE | AWS Huntingdon | 2020-10-16 | 23:59:59 | [7 empty] | Temperature | E | 11.3 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-16 | 07:25:00 | OSM | Treated Sewage Effluent | Spot | 473140 |  | NONE | AWS Huntingdon | 2020-10-17 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 0.78 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-16 | 07:25:00 | OSM | Treated Sewage Effluent | Spot | 473140 |  | NONE | AWS Huntingdon | 2020-10-19 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-16 | 07:25:00 | OSM | Treated Sewage Effluent | Spot | 473140 |  | NONE | AWS Huntingdon | 2020-10-19 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 1 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-26 | 07:38:00 | OSM | Treated Sewage Effluent | Spot | 484716 |  | NONE | AWS Huntingdon | 2020-10-26 | 23:59:59 | [7 empty] | Temperature | E | 13.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-26 | 07:38:00 | OSM | Treated Sewage Effluent | Spot | 484716 |  | NONE | AWS Huntingdon | 2020-10-27 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-26 | 07:38:00 | OSM | Treated Sewage Effluent | Spot | 484716 |  | NONE | AWS Huntingdon | 2020-10-27 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.31 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-10-26 | 07:38:00 | OSM | Treated Sewage Effluent | Spot | 484716 |  | NONE | AWS Huntingdon | 2020-10-27 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 13 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-12-04 | 07:36:00 | OSM | Treated Sewage Effluent | Spot | 556454 |  | NONE | AWS Huntingdon | 2020-12-04 | 23:59:59 | [7 empty] | Temperature | E | 12.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-12-04 | 07:36:00 | OSM | Treated Sewage Effluent | Spot | 556454 |  | NONE | AWS Huntingdon | 2020-12-05 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 4.57 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-12-04 | 07:36:00 | OSM | Treated Sewage Effluent | Spot | 556454 |  | NONE | AWS Huntingdon | 2020-12-07 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 1.480 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2020-12-04 | 07:36:00 | OSM | Treated Sewage Effluent | Spot | 556454 |  | NONE | AWS Huntingdon | 2020-12-07 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 12 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-01-22 | 09:44:00 | OSM | Treated Sewage Effluent | Spot | 024264 |  | NONE | AWS Huntingdon | 2021-01-22 | 23:59:59 | [7 empty] | Temperature | E | 6.1 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-01-22 | 09:44:00 | OSM | Treated Sewage Effluent | Spot | 024264 |  | NONE | AWS Huntingdon | 2021-01-23 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.74 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-01-22 | 09:44:00 | OSM | Treated Sewage Effluent | Spot | 024264 |  | NONE | AWS Huntingdon | 2021-01-25 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-01-22 | 09:44:00 | OSM | Treated Sewage Effluent | Spot | 024264 |  | NONE | AWS Huntingdon | 2021-01-25 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 10 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-02-02 | 09:35:00 | OSM | Treated Sewage Effluent | Spot | 038516 |  | NONE | AWS Huntingdon | 2021-02-02 | 23:59:59 | [7 empty] | Temperature | E | 6.4 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-02-02 | 09:35:00 | OSM | Treated Sewage Effluent | Spot | 038516 |  | NONE | AWS Huntingdon | 2021-02-03 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.231 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-02-02 | 09:35:00 | OSM | Treated Sewage Effluent | Spot | 038516 |  | NONE | AWS Huntingdon | 2021-02-03 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 3.39 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-02-02 | 09:35:00 | OSM | Treated Sewage Effluent | Spot | 038516 |  | NONE | AWS Huntingdon | 2021-02-03 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 14 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-03-04 | 07:50:00 | OSM | Treated Sewage Effluent | Spot | 106392 |  | NONE | AWS Huntingdon | 2021-03-04 | 23:59:59 | [7 empty] | Temperature | E | 8.2 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-03-04 | 07:50:00 | OSM | Treated Sewage Effluent | Spot | 106392 |  | NONE | AWS Huntingdon | 2021-03-05 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.407 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-03-04 | 07:50:00 | OSM | Treated Sewage Effluent | Spot | 106392 |  | NONE | AWS Huntingdon | 2021-03-05 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 4.41 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-03-04 | 07:50:00 | OSM | Treated Sewage Effluent | Spot | 106392 |  | NONE | AWS Huntingdon | 2021-03-05 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 17 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-04-19 | 13:08:00 | OSM | Treated Sewage Effluent | Spot | 173076 |  | NONE | AWS Huntingdon | 2021-04-19 | 23:59:59 | [7 empty] | Temperature | E | 10.1 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-04-19 | 13:08:00 | OSM | Treated Sewage Effluent | Spot | 173076 |  | NONE | AWS Huntingdon | 2021-04-20 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.467 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-04-19 | 13:08:00 | OSM | Treated Sewage Effluent | Spot | 173076 |  | NONE | AWS Huntingdon | 2021-04-20 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.89 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-04-19 | 13:08:00 | OSM | Treated Sewage Effluent | Spot | 173076 |  | NONE | AWS Huntingdon | 2021-04-20 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 15 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-05-04 | 08:05:00 | OSM | Treated Sewage Effluent | Spot | 202197 |  | NONE | AWS Huntingdon | 2021-05-04 | 23:59:59 | [7 empty] | Temperature | E | 9.3 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-05-04 | 08:05:00 | OSM | Treated Sewage Effluent | Spot | 202197 |  | NONE | AWS Huntingdon | 2021-05-05 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.607 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-05-04 | 08:05:00 | OSM | Treated Sewage Effluent | Spot | 202197 |  | NONE | AWS Huntingdon | 2021-05-05 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 3.03 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-05-04 | 08:05:00 | OSM | Treated Sewage Effluent | Spot | 202197 |  | NONE | AWS Huntingdon | 2021-05-05 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 9 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-06-19 | 08:42:00 | OSM | Treated Sewage Effluent | Spot | 278277 |  | NONE | AWS Huntingdon | 2021-06-19 | 23:59:59 | [7 empty] | Temperature | E | 14.6 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-06-19 | 08:42:00 | OSM | Treated Sewage Effluent | Spot | 278277 |  | NONE | AWS Huntingdon | 2021-06-20 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.41 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-06-19 | 08:42:00 | OSM | Treated Sewage Effluent | Spot | 278277 |  | NONE | AWS Huntingdon | 2021-06-21 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-06-19 | 08:42:00 | OSM | Treated Sewage Effluent | Spot | 278277 |  | NONE | AWS Huntingdon | 2021-06-21 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 9 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-07-09 | 10:46:00 | OSM | Treated Sewage Effluent | Spot | 313006 |  | NONE | AWS Huntingdon | 2021-07-09 | 23:59:59 | [7 empty] | Temperature | E | 16.7 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-07-09 | 10:46:00 | OSM | Treated Sewage Effluent | Spot | 313006 |  | NONE | AWS Huntingdon | 2021-07-10 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.04 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-07-09 | 10:46:00 | OSM | Treated Sewage Effluent | Spot | 313006 |  | NONE | AWS Huntingdon | 2021-07-12 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-07-09 | 10:46:00 | OSM | Treated Sewage Effluent | Spot | 313006 |  | NONE | AWS Huntingdon | 2021-07-12 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 1 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-08-18 | 08:25:00 | OSM | Treated Sewage Effluent | Spot | 376654 |  | NONE | AWS Huntingdon | 2021-08-18 | 23:59:59 | [7 empty] | Temperature | E | 16.4 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-08-18 | 08:25:00 | OSM | Treated Sewage Effluent | Spot | 376654 |  | NONE | AWS Huntingdon | 2021-08-19 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-08-18 | 08:25:00 | OSM | Treated Sewage Effluent | Spot | 376654 |  | NONE | AWS Huntingdon | 2021-08-19 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.21 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-08-18 | 08:25:00 | OSM | Treated Sewage Effluent | Spot | 376654 |  | NONE | AWS Huntingdon | 2021-08-20 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 3 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-09-20 | 12:27:00 | OSM | Treated Sewage Effluent | Spot | 430320 |  | NONE | AWS Huntingdon | 2021-09-20 | 23:59:59 | [7 empty] | Temperature | E | 18.3 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-09-20 | 12:27:00 | OSM | Treated Sewage Effluent | Spot | 430320 |  | NONE | AWS Huntingdon | 2021-09-21 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 1.360 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-09-20 | 12:27:00 | OSM | Treated Sewage Effluent | Spot | 430320 |  | NONE | AWS Huntingdon | 2021-09-21 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.70 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-09-20 | 12:27:00 | OSM | Treated Sewage Effluent | Spot | 430320 |  | NONE | AWS Huntingdon | 2021-09-21 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 6 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-08 | 08:35:00 | OSM | Treated Sewage Effluent | Spot | 462146 |  | NONE | AWS Huntingdon | 2021-10-08 | 23:59:59 | [7 empty] | Temperature | E | 13.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-08 | 08:35:00 | OSM | Treated Sewage Effluent | Spot | 462146 |  | NONE | AWS Huntingdon | 2021-10-09 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.76 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-08 | 08:35:00 | OSM | Treated Sewage Effluent | Spot | 462146 |  | NONE | AWS Huntingdon | 2021-10-11 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-08 | 08:35:00 | OSM | Treated Sewage Effluent | Spot | 462146 |  | NONE | AWS Huntingdon | 2021-10-11 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 2 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-21 | 08:27:00 | OSM | Treated Sewage Effluent | Spot | 481370 |  | NONE | AWS Huntingdon | 2021-10-21 | 23:59:59 | [7 empty] | Temperature | E | 13.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-21 | 08:27:00 | OSM | Treated Sewage Effluent | Spot | 481370 |  | NONE | AWS Huntingdon | 2021-10-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-21 | 08:27:00 | OSM | Treated Sewage Effluent | Spot | 481370 |  | NONE | AWS Huntingdon | 2021-10-22 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.18 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-10-21 | 08:27:00 | OSM | Treated Sewage Effluent | Spot | 481370 |  | NONE | AWS Huntingdon | 2021-10-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 9 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-12-06 | 12:35:00 | OSM | Treated Sewage Effluent | Spot | 558168 |  | None | AWS Huntingdon | 2021-12-06 | 23:59:59 | [7 empty] | Temperature | E | 6.6 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-12-06 | 12:35:00 | OSM | Treated Sewage Effluent | Spot | 558168 |  | None | AWS Huntingdon | 2021-12-07 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-12-06 | 12:35:00 | OSM | Treated Sewage Effluent | Spot | 558168 |  | None | AWS Huntingdon | 2021-12-07 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.45 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2021-12-06 | 12:35:00 | OSM | Treated Sewage Effluent | Spot | 558168 |  | None | AWS Huntingdon | 2021-12-07 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 3 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-01-20 | 09:05:00 | OSM | Treated Sewage Effluent | Spot | 024022 |  | NONE | AWS Huntingdon | 2022-01-20 | 23:59:59 | [7 empty] | Temperature | E | 5.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-01-20 | 09:05:00 | OSM | Treated Sewage Effluent | Spot | 024022 |  | NONE | AWS Huntingdon | 2022-01-21 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.345 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-01-20 | 09:05:00 | OSM | Treated Sewage Effluent | Spot | 024022 |  | NONE | AWS Huntingdon | 2022-01-21 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.86 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-01-20 | 09:05:00 | OSM | Treated Sewage Effluent | Spot | 024022 |  | NONE | AWS Huntingdon | 2022-01-21 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 7 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-05-20 | 10:42:00 | OSM | Treated Sewage Effluent | Spot | 232202 |  | NONE | AWS Huntingdon | 2022-05-20 | 23:59:59 | [7 empty] | Temperature | E | 14.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-05-20 | 10:42:00 | OSM | Treated Sewage Effluent | Spot | 232202 |  | NONE | AWS Huntingdon | 2022-05-21 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.05 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-05-20 | 10:42:00 | OSM | Treated Sewage Effluent | Spot | 232202 |  | NONE | AWS Huntingdon | 2022-05-23 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-05-20 | 10:42:00 | OSM | Treated Sewage Effluent | Spot | 232202 |  | NONE | AWS Huntingdon | 2022-05-23 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 7 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-02-21 | 11:04:00 | OSM | Treated Sewage Effluent | Spot | 079807 |  | NONE | AWS Huntingdon | 2022-02-21 | 23:59:59 | [7 empty] | Temperature | E | 7.5 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-02-21 | 11:04:00 | OSM | Treated Sewage Effluent | Spot | 079807 |  | NONE | AWS Huntingdon | 2022-02-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-02-21 | 11:04:00 | OSM | Treated Sewage Effluent | Spot | 079807 |  | NONE | AWS Huntingdon | 2022-02-22 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.20 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-02-21 | 11:04:00 | OSM | Treated Sewage Effluent | Spot | 079807 |  | NONE | AWS Huntingdon | 2022-02-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 15 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-03-22 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 135154 |  | NONE | AWS Huntingdon | 2022-03-22 | 23:59:59 | [7 empty] | Temperature | E | 9.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-03-22 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 135154 |  | NONE | AWS Huntingdon | 2022-03-23 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-03-22 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 135154 |  | NONE | AWS Huntingdon | 2022-03-23 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 4.85 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-03-22 | 10:06:00 | OSM | Treated Sewage Effluent | Spot | 135154 |  | NONE | AWS Huntingdon | 2022-03-23 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 25 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-04-26 | 09:24:00 | OSM | Treated Sewage Effluent | Spot | 188882 |  | NONE | AWS Huntingdon | 2022-04-26 | 23:59:59 | [7 empty] | Temperature | E | 11.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-04-26 | 09:24:00 | OSM | Treated Sewage Effluent | Spot | 188882 |  | NONE | AWS Huntingdon | 2022-04-27 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-04-26 | 09:24:00 | OSM | Treated Sewage Effluent | Spot | 188882 |  | NONE | AWS Huntingdon | 2022-04-27 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.35 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-04-26 | 09:24:00 | OSM | Treated Sewage Effluent | Spot | 188882 |  | NONE | AWS Huntingdon | 2022-04-27 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 9 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-06-16 | 09:20:00 | OSM | Treated Sewage Effluent | Spot | 274254 |  | NONE | AWS Huntingdon | 2022-06-16 | 23:59:59 | [7 empty] | Temperature | E | 17.1 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-06-16 | 09:20:00 | OSM | Treated Sewage Effluent | Spot | 274254 |  | NONE | AWS Huntingdon | 2022-06-17 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 8.940 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-06-16 | 09:20:00 | OSM | Treated Sewage Effluent | Spot | 274254 |  | NONE | AWS Huntingdon | 2022-06-17 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 19.10 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-06-16 | 09:20:00 | OSM | Treated Sewage Effluent | Spot | 274254 |  | NONE | AWS Huntingdon | 2022-06-17 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 27 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-07-19 | 07:20:00 | OSM | Treated Sewage Effluent | Spot | 330516 |  | NONE | AWS Huntingdon | 2022-07-19 | 23:59:59 | [7 empty] | No Flow | E | 0 | Unitless |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-11 | 07:41:00 | OSM | Treated Sewage Effluent | Spot | 369263 |  | NONE | AWS Huntingdon | 2022-08-11 | 23:59:59 | [7 empty] | Temperature | E | 17.5 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-11 | 07:41:00 | OSM | Treated Sewage Effluent | Spot | 369263 |  | NONE | AWS Huntingdon | 2022-08-12 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-11 | 07:41:00 | OSM | Treated Sewage Effluent | Spot | 369263 |  | NONE | AWS Huntingdon | 2022-08-12 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.17 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-11 | 07:41:00 | OSM | Treated Sewage Effluent | Spot | 369263 |  | NONE | AWS Huntingdon | 2022-08-12 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 1 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-21 | 08:41:00 | OSM | Treated Sewage Effluent | Spot | 383315 |  | None | AWS Huntingdon | 2022-08-21 | 23:59:59 | [7 empty] | Temperature | E | 17.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-21 | 08:41:00 | OSM | Treated Sewage Effluent | Spot | 383315 |  | None | AWS Huntingdon | 2022-08-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-21 | 08:41:00 | OSM | Treated Sewage Effluent | Spot | 383315 |  | None | AWS Huntingdon | 2022-08-22 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.14 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-08-21 | 08:41:00 | OSM | Treated Sewage Effluent | Spot | 383315 |  | None | AWS Huntingdon | 2022-08-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 1 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-10-12 | 09:41:00 | OSM | Treated Sewage Effluent | Spot | 466353 |  | NONE | AWS Huntingdon | 2022-10-12 | 23:59:59 | [7 empty] | Temperature | E | 11.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-10-12 | 09:41:00 | OSM | Treated Sewage Effluent | Spot | 466353 |  | NONE | AWS Huntingdon | 2022-10-13 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-10-12 | 09:41:00 | OSM | Treated Sewage Effluent | Spot | 466353 |  | NONE | AWS Huntingdon | 2022-10-13 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.72 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-10-12 | 09:41:00 | OSM | Treated Sewage Effluent | Spot | 466353 |  | NONE | AWS Huntingdon | 2022-10-13 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 3 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-07 | 08:11:00 | OSM | Treated Sewage Effluent | Spot | 623467 |  |  | AWS Huntingdon | 2022-11-07 | 23:59:59 | [7 empty] | Temperature | E | 11.6 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-07 | 08:11:00 | OSM | Treated Sewage Effluent | Spot | 623467 |  |  | AWS Huntingdon | 2022-11-09 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-07 | 08:11:00 | OSM | Treated Sewage Effluent | Spot | 623467 |  |  | AWS Huntingdon | 2022-11-09 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 3 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-07 | 08:11:00 | OSM | Treated Sewage Effluent | Spot | 623467 |  |  | AWS Huntingdon | 2022-11-15 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.13 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-25 | 10:20:00 | OSM | Treated Sewage Effluent | Spot | 640246 |  |  | AWS Huntingdon | 2022-11-25 | 23:59:59 | [7 empty] | Temperature | E | 10.3 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-25 | 10:20:00 | OSM | Treated Sewage Effluent | Spot | 640246 |  |  | AWS Huntingdon | 2022-11-29 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-25 | 10:20:00 | OSM | Treated Sewage Effluent | Spot | 640246 |  |  | AWS Huntingdon | 2022-11-29 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 11 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2022-11-25 | 10:20:00 | OSM | Treated Sewage Effluent | Spot | 640246 |  |  | AWS Huntingdon | 2022-12-01 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 0.99 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-01-19 | 11:11:00 | OSM | Treated Sewage Effluent | Spot | 013296 |  |  | AWS Huntingdon | 2023-01-19 | 23:59:59 | [7 empty] | Temperature | E | 8.4 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-01-19 | 11:11:00 | OSM | Treated Sewage Effluent | Spot | 013296 |  |  | AWS Huntingdon | 2023-01-23 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.523 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-01-19 | 11:11:00 | OSM | Treated Sewage Effluent | Spot | 013296 |  |  | AWS Huntingdon | 2023-01-23 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 10 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-01-19 | 11:11:00 | OSM | Treated Sewage Effluent | Spot | 013296 |  |  | AWS Huntingdon | 2023-01-25 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.89 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-02-20 | 09:45:00 | OSM | Treated Sewage Effluent | Spot | 046964 |  |  | AWS Huntingdon | 2023-02-20 | 23:59:59 | [7 empty] | Temperature | E | 8.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-02-20 | 09:45:00 | OSM | Treated Sewage Effluent | Spot | 046964 |  |  | AWS Huntingdon | 2023-02-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.490 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-02-20 | 09:45:00 | OSM | Treated Sewage Effluent | Spot | 046964 |  |  | AWS Huntingdon | 2023-02-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 1 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-02-20 | 09:45:00 | OSM | Treated Sewage Effluent | Spot | 046964 |  |  | AWS Huntingdon | 2023-02-27 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 3.08 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-03-21 | 08:43:00 | OSM | Treated Sewage Effluent | Spot | 075722 |  |  | AWS Huntingdon | 2023-03-21 | 23:59:59 | [7 empty] | Temperature | E | 9.7 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-03-21 | 08:43:00 | OSM | Treated Sewage Effluent | Spot | 075722 |  |  | AWS Huntingdon | 2023-03-23 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-03-21 | 08:43:00 | OSM | Treated Sewage Effluent | Spot | 075722 |  |  | AWS Huntingdon | 2023-03-23 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 13 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-03-21 | 08:43:00 | OSM | Treated Sewage Effluent | Spot | 075722 |  |  | AWS Huntingdon | 2023-03-27 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 3.67 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-04-25 | 11:20:00 | OSM | Treated Sewage Effluent | Spot | 116602 |  | Low fe flow | AWS Huntingdon | 2023-04-25 | 23:59:59 | [7 empty] | Temperature | E | 5.5 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-04-25 | 11:20:00 | OSM | Treated Sewage Effluent | Spot | 116602 |  | Low fe flow | AWS Huntingdon | 2023-04-27 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-04-25 | 11:20:00 | OSM | Treated Sewage Effluent | Spot | 116602 |  | Low fe flow | AWS Huntingdon | 2023-04-27 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 4 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-04-25 | 11:20:00 | OSM | Treated Sewage Effluent | Spot | 116602 |  | Low fe flow | AWS Huntingdon | 2023-05-02 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 0.90 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-05-19 | 10:33:00 | OSM | Treated Sewage Effluent | Spot | 137644 |  |  | AWS Huntingdon | 2023-05-19 | 23:59:59 | [7 empty] | Temperature | E | 13.9 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-05-19 | 10:33:00 | OSM | Treated Sewage Effluent | Spot | 137644 |  |  | AWS Huntingdon | 2023-05-23 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 1.089 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-05-19 | 10:33:00 | OSM | Treated Sewage Effluent | Spot | 137644 |  |  | AWS Huntingdon | 2023-05-23 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 6 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-05-19 | 10:33:00 | OSM | Treated Sewage Effluent | Spot | 137644 |  |  | AWS Huntingdon | 2023-05-30 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.35 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-06-15 | 12:00:00 | OSM | Treated Sewage Effluent | Spot | 164049 |  |  | AWS Huntingdon | 2023-06-15 | 23:59:59 | [7 empty] | Temperature | E | 19.5 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-06-15 | 12:00:00 | OSM | Treated Sewage Effluent | Spot | 164049 |  |  | AWS Huntingdon | 2023-06-19 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.537 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-06-15 | 12:00:00 | OSM | Treated Sewage Effluent | Spot | 164049 |  |  | AWS Huntingdon | 2023-06-19 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 4 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-06-15 | 12:00:00 | OSM | Treated Sewage Effluent | Spot | 164049 |  |  | AWS Huntingdon | 2023-06-21 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 3.10 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-07-18 | 08:03:00 | OSM | Treated Sewage Effluent | Spot | 199814 |  |  | AWS Huntingdon | 2023-07-18 | 23:59:59 | [7 empty] | Temperature | E | 15.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-07-18 | 08:03:00 | OSM | Treated Sewage Effluent | Spot | 199814 |  |  | AWS Huntingdon | 2023-07-20 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-07-18 | 08:03:00 | OSM | Treated Sewage Effluent | Spot | 199814 |  |  | AWS Huntingdon | 2023-07-20 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 6 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-07-18 | 08:03:00 | OSM | Treated Sewage Effluent | Spot | 199814 |  |  | AWS Huntingdon | 2023-07-24 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.36 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-08-20 | 08:37:00 | OSM | Treated Sewage Effluent | Spot | 233820 |  |  | AWS Huntingdon | 2023-08-20 | 23:59:59 | [7 empty] | Temperature | E | 17.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-08-20 | 08:37:00 | OSM | Treated Sewage Effluent | Spot | 233820 |  |  | AWS Huntingdon | 2023-08-22 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-08-20 | 08:37:00 | OSM | Treated Sewage Effluent | Spot | 233820 |  |  | AWS Huntingdon | 2023-08-22 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 6 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-08-20 | 08:37:00 | OSM | Treated Sewage Effluent | Spot | 233820 |  |  | AWS Huntingdon | 2023-08-29 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 0.99 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-09-14 | 10:03:00 | OSM | Treated Sewage Effluent | Spot | 260737 |  |  | AWS Huntingdon | 2023-09-14 | 23:59:59 | [7 empty] | Temperature | E | 16.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-09-14 | 10:03:00 | OSM | Treated Sewage Effluent | Spot | 260737 |  |  | AWS Huntingdon | 2023-09-18 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-09-14 | 10:03:00 | OSM | Treated Sewage Effluent | Spot | 260737 |  |  | AWS Huntingdon | 2023-09-18 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 13 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-09-14 | 10:03:00 | OSM | Treated Sewage Effluent | Spot | 260737 |  |  | AWS Huntingdon | 2023-09-20 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.27 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-06 | 07:56:00 | OSM | Treated Sewage Effluent | Spot | 320636 |  |  | AWS Huntingdon | 2023-11-06 | 23:59:59 | [7 empty] | Temperature | E | 11.4 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-06 | 07:56:00 | OSM | Treated Sewage Effluent | Spot | 320636 |  |  | AWS Huntingdon | 2023-11-08 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.214 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-06 | 07:56:00 | OSM | Treated Sewage Effluent | Spot | 320636 |  |  | AWS Huntingdon | 2023-11-08 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 5 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-06 | 07:56:00 | OSM | Treated Sewage Effluent | Spot | 320636 |  |  | AWS Huntingdon | 2023-11-13 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 1.40 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-24 | 10:41:00 | OSM | Treated Sewage Effluent | Spot | 339601 |  |  | AWS Huntingdon | 2023-11-24 | 23:59:59 | [7 empty] | Temperature | E | 10.0 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-24 | 10:41:00 | OSM | Treated Sewage Effluent | Spot | 339601 |  |  | AWS Huntingdon | 2023-11-28 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-24 | 10:41:00 | OSM | Treated Sewage Effluent | Spot | 339601 |  |  | AWS Huntingdon | 2023-11-28 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 6 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-11-24 | 10:41:00 | OSM | Treated Sewage Effluent | Spot | 339601 |  |  | AWS Huntingdon | 2023-11-30 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.43 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-10-11 | 08:45:00 | OSM | Treated Sewage Effluent | Spot | 292480 |  |  | AWS Huntingdon | 2023-10-11 | 23:59:59 | [7 empty] | Temperature | E | 15.8 | Cel |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-10-11 | 08:45:00 | OSM | Treated Sewage Effluent | Spot | 292480 |  |  | AWS Huntingdon | 2023-10-13 | 23:59:59 | [7 empty] | Ammoniacal Nitrogen as N | E | 0.105 | mg/l | LT |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-10-11 | 08:45:00 | OSM | Treated Sewage Effluent | Spot | 292480 |  |  | AWS Huntingdon | 2023-10-13 | 23:59:59 | [7 empty] | Solids Suspended at 105 C | E | 9 | mg/l |  |  | 101 |  | FALSE
AWS | C | STHURLEIG | 2023-10-11 | 08:45:00 | OSM | Treated Sewage Effluent | Spot | 292480 |  |  | AWS Huntingdon | 2023-10-17 | 23:59:59 | [7 empty] | BOD 5 Day ATU as O | E | 2.20 | mg/l |  |  | 101 |  | FALSE