## Sheet1
Event_No_ | Reported date & time | Observed_date_and_Time | Report_month_(EA) | Duplicates_(EA) | Agency_Impact_Level | Attended_(EA) | Current_Status | Location | Notification_County | Job_Number | Area | WWOM | Manager_Code | Asset_Number | Incident_Catchment | Grid_Ref__Confirmed_ | Water Cat | Land Cat | Air Cat | Pollutant_Type__Tier1_ | Pollutant__Tier2_ | Pollutant_Detail | Premises_Type__Tier1_ | t
2207263 | 2023-12-02 09:47 | 2023-12-02 | 2023-12-01 |  | Level D |  | Closed | Brookfield Plantation / Gretton Brook Road, Corby, NN17 4BA | CORBY DISTRICT | 63319346 | WATER | WATER | RWSP RW400 |  | Willow Brook | SP 89300 91200 | 3 | 4 | 4 | Other Pollutant | Other | Clean drinking water | Water Industry | Water Distribution System
2121457 | 2023-01-04 20:12 | 2023-01-04 | 2023-01-01 |  | Level D |  | Closed | Brookfield Plantation / 77856783, Gretton Brook Road, Corby, NN17 4BA | CORBY DISTRICT | 61784981 | WATER | WATER | RWSP RW400 |  | Willow Brook | SP 89308 91195 | 3 | 4 | 4 | Contaminated Water | Suspended Solids | Burst water mains | Water Industry | Water Distribution System
1854493 | 2020-10-06 13:27 | 2020-10-06 | 2020-10-01 |  | Level D |  | Closed | Weldon Lodge / 72930282, Gretton Brook Road, Earlstrees Industral Estate, Corby, NN174AP | CORBY DISTRICT | 58011820 | WATER | WATER | RWSP RW400 |  | Willow Brook | SP 90652 91991 | 3 | 4 | 4 | Contaminated Water | Suspended Solids | solids flushed into the brook by the runoff | Water Industry | Water Distribution System
1808971 | 2020-05-22 05:56 | 2020-05-22 | 2020-05-01 |  | Level D |  | Closed | Weldon Lodge / 3, Gretton Brook Road, Brookfield, Corby, NN17 4BB | CORBY DISTRICT | 57491482 | WATER | WATER | RWSP RW400 |  | Willow Brook | SP 90629 91977 | 3 | 4 | 4 | Contaminated Water | Other Contaminated Water | Potable treated water | Water Industry | Water Distribution System
1706349 | 2019-05-31 12:21 | 2019-05-31 | 2019-05-01 | 2 | Level C | Yes | Closed | Willow Brook, Brookfield Plantation, Gretton Brook Road, Corby, NN17 4BA / burst main | CORBY DISTRICT | 56302405 | WATER | WATER | RWSP RW400 |  | Willow Brook | SP 89199 91171 | 2 | 4 | 4 | Contaminated Water | Suspended Solids | Burst water main | Water Industry | Water Distribution System
1664897 | 2018-11-19 16:55 | 2018-11-19 | 2018-11-01 |  | Level C | Yes | Closed | Gretton Brook Flood Storage Reservoir, retton, Corby, Northamptonshire, East Midlands | CORBY DISTRICT | 55612781 | RSAM | Unknown | RSCT CT041 |  | Willow Brook | SP 88813 91142 | 3 | 4 | 4 | Sewage Materials | Crude Sewage |  | Water Industry | Foul Sewer
1450430 | 2016-07-06 15:57 | 2016-07-06 | 2016-07-01 |  | Level C | Yes | Closed | Gretton Brook Reservoir, Gretton, Corby, Northamptonshire, East Midlands | CORBY DISTRICT |  | RSAM | LSVN | RSCT |  | Willow Brook | SP 88861 91145 | 3 | 4 | 4 | Sewage Materials | Crude Sewage |  | Water Industry | Foul Sewer