## Isleham WRC
| Driver & Tier | Name, Description, Categorisation | [8 empty] | Water Resources
Unique_ID | Driver_Code_Primary | Action_Name | Action_Description | Name_of_Boundary_within_which_Action_is_being_implemented | Operational_Catchment | Waterbody_ID | Waterbody_Type | Easting | Northing | Latest_Allowable_Delivery_Date | Groundwaterbody_Name | Groundwaterbody_ID | Water_Resources_Zone | Annual_Licence_Volume_ML/annum | Daily_Licence_Volume_ML/day | Water_returned_to_enhance_the_environment(Reduction_in_actual_abstraction)_ML/day | Quantity_removed_from_licence_for_environmental_protection_ML/day | Length_of_priority_habitats_and_species_Restored_or_Improved | Delivers_on_Salmon_5Point_Approach
08AW101341g | WFD_ND_WRFlow | Isleham | Time Limited Licence Renewal - Licence Cap TBC (planning assumption of historic average) | Kennett - Lee Brook | Lark | GB105033043020 | River | 564120 | 272930 | 2030-03-31 |  |  | WRZ77 Ely |  |  |  | 2.94 | 2.06
EAN02386 | WFD_ND_WRFlow | Isleham | Action to prevent deterioration of ecological status from flow pressures | Kennett - Lee Brook | Lark | GB105033043020 | River | 564061 | 272963 | 2028-04-30 | Cam and Ely Ouse Chalk | GB40501G400500 | ELY | 1650 | 6 | 0 | 0 |  | N/A
EAN00050 | WFDGW_ND_GWQ | Isleham | Groundwater No deterioration measure relating to water resource and water quality | Cam and Ely Ouse Chalk | Cam and Ely Ouse Chalk | GB40501G400500 | Groundwater | 564061 | 272963 | 2028-04-30 | Cam and Ely Ouse Chalk | GB40501G400500 |  | 1650 | 6 | 0 | 0.77 |  | N/A
08AW100184fz | U_MON6 | ISLEHAM STW | U_MON6a MCERTS EDM only. | Ely Ouse (South Level) | South Level and Cut-Off Channel | GB205033000070 | River | 564830 | 275350 | 2030-03-31

## Kennet Lee Brook
| Driver & Tier |  |  |  | Name, Description, Categorisation | [10 empty] | Water Resources
Unique_ID | Driver_Code_Primary | Driver_Code_Secondary | Driver_Code_Tertiary | Tier_1_Outcome | Action_Name | Action_Description | Licence_Permit_Obstruction_ID | Action_Categorisation_Type | Name_of_Boundary_within_which_Action_is_being_implemented | Operational_Catchment | Waterbody_ID | Waterbody_Type | Easting | Northing | Latest_Allowable_Delivery_Date | Groundwaterbody_Name | Groundwaterbody_ID | Water_Resources_Zone | Annual_Licence_Volume_ML/annum | Daily_Licence_Volume_ML/day | Quantity_removed_from_licence_for_environmental_protection_ML/day | Population_Equivalent_for_STW | Substance_of_Interest | Current_Permit_DWF_(m3/d)_(or_Ml/d_for_UU) | Proposed_Iron_/_Aluminium_permit_limits_(ug/l) | Current_Chemical_permit_limit_(ug/l) | Proposed_Chemical_permit_99%ile_LUT_(ug/l) | Current_permit_other | Proposed_permit_other | Length_of_priority_habitats_and_species_Restored_or_Improved | Delivers_on_Salmon_5Point_Approach
08AW100323a | U_MON3 |  |  | Protect the environment from wastewater collection and discharges | DALHAM-TPS-GAZELEY STW | U_MON3b - MCERTS certified overflow operation monitor | ASCNF2245/V002 |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 572200 | 262000 | 2026-12-31
08AW102517a | WFD_INV_WRFlow | EDWRMP_INV |  | Achieving water body objective status within a catchment | Investigate options for capping beyond RA. | Investigation into short and longer term capping options to recover flow, for the following licences: Beck Row, Isleham, Moulton and Gazeley. |  | Reduce abstraction annual quantity | Kennett - Lee Brook |  | GB105033043020 | River |  |  | 2026-12-31 | Cam and Ely Ouse Chalk | GB40501G400500
08AW101139a | U_MON4 |  |  | Protect the environment from wastewater collection and discharges | DALHAM-TPS-GAZELEY STW | U_MON4e - MCERTS certified Flow passed forward flow monitor including civils | ASCNF2245/V002 |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 572200 | 262000 | 2026-12-31
08AW103002i | WFD_ND_WRFlow |  |  | Preventing deterioration from current status within a catchment | Moulton | Average Licence cap | 6/33/38/*G/0028 | Reduce abstraction annual quantity | Kennett-Lee Brook | Lark | GB105033042990 | River | 569946 | 264540 | 2030-03-31 | Cam and Ely Ouse Chalk | GB40501G400500 |  |  |  | 4.22 | [8 empty] | 11.74
08AW101341g | WFD_ND_WRFlow |  |  | Preventing deterioration from current status within a catchment | Isleham | Time Limited Licence Renewal - Licence Cap TBC (planning assumption of historic average) | 6/33/39/*G/0008 |  | Kennett - Lee Brook | Lark | GB105033043020 | River | 564120 | 272930 | 2030-03-31 |  |  | WRZ77 Ely |  |  | 2.94 | [8 empty] | 2.06
08AW100190a | WFD_IMP_WRFlow |  |  | Achieving water body objective status within a catchment | Kennett Lee Brook - implement licence reductions beyond RA | Implement outputs from AMP8 investigation into short and long term capping options to recover flow, for the following licences: Beck Row, Isleham, Moulton and Gazeley. |  | Reduce abstraction annual quantity | Kennett - Lee Brook | Lark | GB105033043020 | River |  |  | 2030-03-31 | Cam and Ely Ouse Chalk | GB40501G400500
08AW100004gi | EnvAct_INV4 |  |  | Protect the environment from the effects of intermittent discharges. | COWLINGE-THREE TUNS SP | Investigations to reduce storm overflow spills to protect the environment so that they have no local adverse ecological impact. At WR Networks locations (1090 in total) | ASCNF2675 |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 571620 | 254240 | 2027-04-30
08AW100004hc | EnvAct_INV4 |  |  | Protect the environment from the effects of intermittent discharges. | DALHAM-TPS | Investigations to reduce storm overflow spills to protect the environment so that they have no local adverse ecological impact. At WR Networks locations (1090 in total) | ASCNF2245 |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 572200 | 262000 | 2027-04-30
08AW100004me | EnvAct_INV4 |  |  | Protect the environment from the effects of intermittent discharges. | COWLINGE-GREEN MAN P H SP | Investigations to reduce storm overflow spills to protect the environment so that they have no local adverse ecological impact. At WR Networks locations (1090 in total) | ASCNF2335 |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 571700 | 254900 | 2027-04-30
EAN00508 | WFD_IMPg |  |  |  | Lidgate STW | Measures to reduce ammonia, phosphorus, BOD or nitrogen at STWs in order to meet WFD standards in rivers, transitional or coastal waters. | AW1NF348A |  | Kennett-Lee Brook | Lark | GB105033042990 | River | 571200 | 258500 | 2027-03-31 | [6 empty] | 402 | Phosphorus | 85 | Iron 4000 ug/l (95%ile) 8000 ug/l (UT) |  |  | No current limit | 1 (AA) |  | N/A
EAN00361 | WFD_IMP_WRFlow | INNS_ND | NERC_IMP1 |  | Implementation Scheme: Undertake river restoration to mitigate the effects of abstraction. The river restoration project will be planned to ensure good biosecurity practices are observed, pathways of spread of invasive species are mitigated and the resultant project brings about biodiversity enhancements. | Action to Improve hydrological regime to meet WFD objectives |  |  | Kennett - Lee Brook | Lark | GB105033043020 | River | 566468 | 275000 | 2026-12-22 | [7 empty] | INNS, Land Management / Physical Improvement | [7 empty] | N/A
EAN02386 | WFD_ND_WRFlow |  |  |  | Isleham | Action to prevent deterioration of ecological status from flow pressures | 6/33/39/*G/0008 |  | Kennett - Lee Brook | Lark | GB105033043020 | River | 564061 | 272963 | 2028-04-30 | Cam and Ely Ouse Chalk | GB40501G400500 | ELY | 1650 | 6 | 0 | [9 empty] | N/A
08AW100184gh | U_MON6 |  |  | Protect the environment from wastewater collection and discharges | KENTFORD-MOULTON AVE SP | U_MON6a MCERTS EDM only. | ASCNF/10516A/2/1 | Improve water company intermittent discharges | Kennett-Lee Brook | Lark | GB105033042990 | River | 570430 | 266620 | 2030-03-31
08AW100184gp | U_MON6 |  |  | Protect the environment from wastewater collection and discharges | KIRTLING STW | U_MON6a MCERTS EDM only. | AW1NF/626/1/1 | Improve water company intermittent discharges | Kennett-Lee Brook | Lark | GB105033042990 | River | 569220 | 257040 | 2030-03-31
08AW100184im | U_MON6 |  |  | Protect the environment from wastewater collection and discharges | MOULTON-CHURCH RD TPS | U_MON6a MCERTS EDM only. | ASCNF/2214/2/2 | Improve water company intermittent discharges | Kennett-Lee Brook | Lark | GB105033042990 | River | 569900 | 264100 | 2030-03-31
08AW100184js | U_MON6 |  |  | Protect the environment from wastewater collection and discharges | OUSDEN-TPS | U_MON6a MCERTS EDM only. | ASCNF/2518/2/2 | Improve water company intermittent discharges | Kennett-Lee Brook | Lark | GB105033042990 | River | 572550 | 259410 | 2030-03-31
08AW100266ay | U_MON6 |  |  | Protect the environment from wastewater collection and discharges | DALHAM-TPS | U_MON6d MCERTS EDM and MCERTS pass forward flow monitor and civils. | ASCNF/2245/2/1 | Improve water company intermittent discharges | Kennett-Lee Brook | Lark | GB105033042990 | River | 572200 | 262000 | 2030-03-31

## WINEP Driver Descriptions
Driver codes
Part 1: Core Obligation | Code | Notes
Bathing Waters | BW
Drinking Water Protected Areas | DrWPA
Eels | EE
Environmental Permitting Regulations | EPR
Habitats Regulations | HD
Invasive species | INNS
25 Year Environment Plan | 25YEP | *NEW*
Marine Conservation Zone | MCZ
NERC Biodiversity Priority | NERC
Salmon and Freshwater Fisheries Act 1975 | SAFFA | *NEW*
Shellfish Waters | SW
Sludge use in Agriculture | SUiAR | *NEW*
SSSI | SSSI
Urban Wastewater Treatment Regulations | U
Water Framework Directive | WFD
Environmental Destination/Water Resources Management Plans | EDWRMP | * NEW *to cover Water Resources Management Plans and Regional Planning
WFD Groundwater | WFDGW
Part 2: Action and WLB Priority
Description | Action Code
Action (To prevent deterioration) | ND
Action (To improve) | IMP
No deterioration investigation | NDINV
Investigation | INV
Long term monitoring (i.e. EDM) | MON
Full List of Driver Codes
Obligation | Full Driver Code | Description | Notes | WISER Categories | Profiling Guidance Date
25 Year Environment Plan | 25YEP_IMP | Locally significant environmental measures not eligible under any other driver, but with clear evidence of customer support. | *NEW* | Non Statutory | 2030-03-31
25 Year Environment Plan | 25YEP_INV | Investigations into a locally significant environmental issue not eligible under any other driver, but with clear evidence of customer support. | *NEW* | Non Statutory | 2027-04-30
Bathing Waters | BW_IMP1 | Actions to improve waters with a current planning class of Poor. |  | Statutory | 2026-03-31
Bathing Waters | BW_IMP2 | Actions to improve waters at risk of deterioration to a planning class of Poor (>20% risk of failing Sufficient). |  | Statutory | 2027-03-31
Bathing Waters | BW_IMP3 | Actions to improve waters to Good or Excellent where there is evidence of customer support |  | Non Statutory | 2030-03-31
Bathing Waters | BW_IMP4 | Actions to improve non-designated waters where there is evidence of customer support |  | Non Statutory | 2030-03-31
Bathing Waters | BW_INV1 | Investigations for waters with a current planning class of Poor |  | Statutory | 2027-04-30
Bathing Waters | BW_INV2 | Investigations for waters at risk of deterioration to a planning class of Poor (>20% risk of failing Sufficient). |  | Statutory | 2027-04-30
Bathing Waters | BW_INV3 | Investigations to lead to improving waters to Good or Excellent where there is evidence of customer support. |  | Non Statutory | 2027-04-30
Bathing Waters | BW_INV5 | Investigations at non-designated waters where there is evidence of customer support | *New* | Non Statutory | 2027-04-30
Bathing Waters | BW_ND | Actions to improve waters failing their Baseline class. |  | Statutory | 2027-03-31
Bathing Waters | BW_NDINV | Investigations for waters failing their Baseline class |  | Statutory | 2027-04-30
Drinking Water Protected Areas | DrWPA_IMP | Implementation of actions through a scheme to improve water quality so the level of purification treatment can be reduced over time. |  | Statutory + | 2030-03-31
Drinking Water Protected Areas | DrWPA_INV | Investigations for ‘at risk’ DrWPAs or groundwater safeguard zone to identify actions to prevent deterioration and/or to reduce treatment. |  | Statutory | 2027-04-30
Drinking Water Protected Areas | DrWPA_ND | Implementation of actions through a catchment scheme, or a wastewater treatment works, to prevent deterioration (or improve following a deterioration) in water quality to avoid an increase in the level of water purification treatment. |  | Statutory | 2030-03-31
Eels | EE_IMP | Schemes to improve diversion structures to prevent the entrainment of eel (for example screening intakes) and to address barriers to the passage of eel (for example building and maintaining eel passes. |  | Statutory + | 2030-03-31
Eels | EE_INV | Investigation required to confirm eel entrainment/identify that a structure is a barrier to eel passage and to determine an appropriate action. |  | Statutory | 2027-04-30
Environment Act | EnvAct_IMP1 | Actions to Reduce phosphorus loading from treated wastewater by 80% by 2037 against a 2020 baseline |  | Statutory | 2038-12-31
Environment Act | EnvAct_IMP2 | Improvements to reduce storm overflow spills to protect the environment so that they have no local adverse ecological impact. | *NEW* | Statutory | 2030-03-31
Environment Act | EnvAct_IMP3 | Improvements to reduce storm overflows that spill to designated bathing waters to protect public health. | *NEW* | Statutory | 2030-03-31
Environment Act | EnvAct_IMP4 | Improvements to reduce storm overflows spills so that they do not discharge above an average of 10 rainfall events per yearby 2050. | *NEW* | Statutory | 2030-03-31
Environment Act | EnvAct_IMP5 | Improvements to reduce storm overflow aesthetic impacts by installation of screens. | *NEW* | Statutory | 2030-03-31
Environment Act | EnvAct_INV1 | Estuarine: Investigation/pilots to assess site suitability for continuous water qualitymonitoring ofthe receiving environment toassess any impact fromstorm overflows andwastewater treatment works discharge outlets. | *NEW* | Statutory | 2027-04-30
Environment Act | EnvAct_INV2 | Inland complex: Investigation/pilots to assess site suitability for continuous water qualitymonitoring of the receiving environment to assess any impact from storm overflows andwastewater treatment works discharge outlets. | *NEW* | Non Statutory | 2027-04-30
Environment Act | EnvAct_INV3 | Coastal: Investigation/pilots to assess site suitability for continuous water quality monitoring of the receiving environment to assess any impact from storm overflows andwastewater treatment works discharge outlets. | *NEW* | Non Statutory | 2027-04-30
Environment Act | EnvAct_INV4 | Investigations to reduce storm overflow spills to protect the environment so that they have no local adverse ecological impact. | *NEW* | Statutory | 2027-04-30
Environment Act | EnvAct_MON2 | Inland complex: Installation of continuous water qualitymonitoring of the receiving environment to assess any impact from storm overflows andwastewater treatment works discharge outlets. | *NEW* | Non Statutory | 2035-03-31
Environment Act | EnvAct_MON3 | Installation of continuous water quality monitoring of the receiving environment to assess any impact from storm overflows and wastewater treatment works discharge outlets. | *NEW* | Non Statutory | 2035-03-31
Environment Act | EnvAct_MON4 | Inland watercourses: Installation of continuous water qualitymonitoring of the receiving watercourseupstream anddownstream of storm overflows andwastewater treatment works discharge outlets. | *NEW* | Statutory | 2030-03-31
Environment Act | EnvAct_MON5 | Develop and implement the ability to publish continuous water qualitymonitoring data in near-real timein a standardised format. | *NEW* | Statutory | 2030-03-31
EPR | EPR_MON1 | MCERTS certified WTW Total daily volume flow/max flow rate monitor |  | Statutory | 2026-12-31
Habitat Regulations | HD_IMP | Action to contribute to restoration of a European site or Ramsar site to move towards meeting the conservation objectives. | we have decided not to change the HD coding for continuity's sake | Statutory | 2030-03-31
(Previously known as Habitats Directive)
Habitat Regulations | HD_INV | Investigation and or options appraisal to determine impacts of water company activities, or permit / licence conditions/standards on a European site or Ramsar site or to determine the costs and technical feasibility of meeting targets. |  | Statutory | 2027-04-30
(Previously known as Habitats Directive)
Habitat Regulations | HD_ND | Action to contribute to maintenance of (prevent deterioration of) the condition of a European site or Ramsar site to ensure the site contributes to achieving favourable conservation status. |  | Statutory | 2030-03-31
(Previously known as Habitats Directive)
Habitat Regulations | HD_IMP_NN | Actions to reduce total phosphorus and/or total nitrogen levels to the Technically Achievable Limit (TAL) from discharges which drain to catchments where Nutrient Neutrality is advised. | *NEW* | Statutory | 2030-03-31
(Previously known as Habitats Directive)
INNS | INNS_IMP | Delivery -Improvement schemes to reduce the impacts of INNS, where INNS is a reason for not achieving conservation objectives or good status. |  | Statutory , Statutory + | 2030-03-31
INNS | INNS_INV | Investigations -Includes pathway analysis, prevention of deterioration and actions to achieve conservation objectives. |  | Statutory | 2027-04-30
INNS | INNS_MON | Surveillance - Set up of surveillance programmes. |  | Statutory + | 2027-04-30
INNS | INNS_ND | Delivery - Actions to prevent deterioration by reducing the risks of spread of INNS and reducing the impacts of INNS |  | Statutory | 2030-03-31
Marine Conservation Zone | MCZ_IMP | Action to contribute to restoration of a MCZ to move towards meeting favourable condition. |  | Statutory + | 2030-03-31
Marine Conservation Zone | MCZ_INV | Investigation and or options appraisal to determine impacts of water company activities, or permit / licence conditions/standards on an MCZ or to determine the costs and technical feasibility of meeting targets. |  | Statutory + | 2027-04-30
Marine Conservation Zone | MCZ_ND | Action to contribute to maintenance (or prevent deterioration) of an MCZ at favourable condition. |  | Statutory + | 2030-03-31
NERC Biodiversity Priority | NERC_IMP | Changes to permits or licences, and/or other action that contributes towards biodiversity duties, requirements and priorities. |  | Statutory + | 2030-03-31
NERC Biodiversity Priority | NERC_INV | Investigations and/or options appraisal for changes to permits or licences, and/or other action that contributes towards biodiversity duties, requirements and priorities. |  | Statutory | 2027-04-30
Regional Plan Environmental Destination | EDWRMP_IMP | Measures identified within the WRMP to meet regional planning requirements that do not fit with WFD driver requirements. | *NEW* awaiting approval | Statutory + | 2030-03-31
Regional Plan Environmental Destination | EDWRMP_INV | Investigations, options appraisals or feasibility studies for measures identified within the WRMP to meet regional planning requirements that do not fit with WFD driver requirements. | *NEW* awaiting approval | Statutory | 2026-12-31
Salmon and Freshwater Fisheries Act 1975 | SAFFA_IMP | Schemes to prevent entrainment of salmon or migratory trout in existing intakes and outfalls. | *NEW* | Statutory | 2030-03-31
Salmon and Freshwater Fisheries Act 1976 | SAFFA_INV | Investigations to confirm level of entrainment or impediment to fish passage or devise an appropriate solution in waters that are becoming frequented by salmon or migratory trout. | *NEW* | Statutory | 2027-04-30
Shellfish Waters | SW_IMP | Shellfish waters improvement action |  | Statutory | 2030-03-31
Shellfish Waters | SW_INV | Shellfish waters improvement or prevent deterioration investigation |  | Statutory | 2027-04-30
Shellfish Waters | SW_ND | Shellfish waters prevent deterioration action |  | Statutory | 2027-06-30
Sludge (Use in Agriculture) Regulations | SUiAR_IMP | Actions to improve resilience in the sludge supply chain to agriculture and other relevant use or disposal outlets | *NEW* awaiting approval | Statutory | 2030-03-31
Sludge (Use in Agriculture) Regulations | SUiAR_ND | Actions to meet requirements to prevent deterioration in soil quality or water quality | *NEW* awaiting approval | Statutory | 2030-03-31
SSSI | SSSI_IMP | Action to contribute to restoration of a SSSI to favourable condition. |  | Statutory | 2030-03-31
SSSI | SSSI_INV | Investigation and/or options appraisal to determine impacts of water company activities, or permit or licence conditions/standards on a SSSI or to determine the costs and technical feasibility of meeting targets. |  | Statutory | 2027-04-30
SSSI | SSSI_ND | Action to contribute to maintenance of (prevent deterioration of) the condition of a SSSI. |  | Statutory | 2030-03-31
Urban Waste Water treatment Regulations | U_IMP1 | Actions to improve discharges from agglomerations that, through population growth, have crossed the population thresholds in the UWWTR and therefore must achieve more stringent UWWTR requirements. This includes newly qualifying discharges (from agglomerations >10,000pe) within existing sensitive areas. |  | Statutory | 2030-05-13
This includes discharges of >2,000 pe to fresh waters and estuaries and discharges >10,000 pe to coastal waters, as well as discharges >10,000 pe and 100,000 pe to Sensitive Areas .
Urban Waste Water treatment Regulations | U_IMP2 | Actions to reduce total phosphorus and/or total nitrogen levels in qualifying discharges (from agglomerations >10,000pe) associated with the next review of freshwater Sensitive Areas (Eutrophic). |  | Statutory | 2030-05-13
Urban Waste Water treatment Regulations | U_IMP3 | Actions to introduce more stringent treatment than UWWTR secondary treatment, to optimise reduction of nitrogen in qualifying discharges (from agglomerations >10,000pe) associated with the next review of freshwater Sensitive Areas (Nitrate). |  | Statutory | 2030-05-13
Urban Waste Water Treatment Regulations | U_IMP4 | Improvements to reduce storm overflow spill frequency to a demonstrated cost beneficial level to meet UWWTR. |  | Statutory | 31/03/2028*
*or within 3 years once a scheme is agreed
Urban Waste Water treatment Regulations | U_IMP5 | Increasing Flow Passed Forward (FPF) flows at WwTW’s that were identified in PR19 as having low permitted FPF/DWF ratios and were subsequently deferred until PR24 by the written agreement of the Environment Agency. |  | Statutory | 2027-03-31
Urban Waste Water treatment Regulations | U_IMP6 | Increasing storm tank capacity to provide adequate settlement and detention at WwTW`s that were identified in PR19 and were subsequently deferred until PR24 by the written agreement of the Environment Agency |  | Statutory | 2027-03-31
Urban Waste Water treatment Regulations | U_IMP7 | Provide secondary treatment capable of achieving 40:60 BOD:suspended solids where a septic tank discharges to surface water | *New* | Statutory | 2028-03-31
Urban Waste Water treatment Regulations | U_MON3 | MCERTS certified FPF overflow operation monitoring at WwTW or last in line SPS overflows |  | Statutory | 2026-12-31
U_MON3a- MCERTS certification of an AMP7 U_MON3 driver output overflow operation monitor
U_MON 3b- MCERTS certified overflow operation monitor
Urban Waste Water treatment Regulations | U_MON4 | MCERTS certified FPF flow monitoring at WwTW or last in line SPS overflows |  | Statutory | 2026-12-31
U_MON4a- Move AMP7 U_MON4 driver output to 2-minute flow monitoring
U_MON4b- Move AMP7 U_INV2 driver output to 2-minute flow monitoring
U_MON4c- PR24 U_MON4 from U_INV2 investigation
U_MON4d- MCERTS certified Flow passed forward flow monitor
U_MON4e- MCERTS certified Flow passed forward flow monitor including civils
Urban Waste Water treatment Regulations | U_MON6 | MCERTS certified monitoring of emergency overflow operation on network sewage pumping stations |  | Statutory | 2030-03-31
U_MON6a- Install MCERTS EDM Monitoring only (pumping stations permitted for emergency overflows only).
U_MON6b- Install MCERTS EDM Monitoring and civils (pumping stations permitted for emergency overflows only).
U_MON6c- Install MCERTS EDM Monitor and associated MCERTS pass forward flow monitoring to differentiate storm and emergency (pumping stations permitted for storm and emergency overflows).
U_MON6d- Install MCERTS EDM Monitor and civils and associated MCERTS pass forward flow monitoring to differentiate storm and emergency (Pumping stations permitted for storm and emergency overflows).
U_MON6e- Permit change only
Water Framework Directive (Surface Waters) | WFD_IMP | Implementation of actions to improve water quality in terms of relevant WFDR status objectives. |  | Statutory + | 2030-03-31
The driver WFD_IMP should have a suffix letter applied to indicate what target the measure is aimed at achieving: the status objective standard. The following are to be used:
• h – measure to meet High status for the element
• g – measure to meet Good status for the element
• m – measure to meet Moderate status for the element
• p – measure to meet Poor status for the element.
● Potential changes to current water body objectives, as a result of PR24 planning, may be included in the 2027 river basin management plans.
● Where a water company is willing to do more for WFDR than is required then the work should be represented on the WINEP with 2 driver codes; one WFD_IMP driver code to reflect the statutory work and one 25 Year Environment Plan driver code (25YEP_IMP) to reflect the discretionary work. Please see the separate driver guidance on the 25 Year Environment Plan driver.
● If we know that a water company is going to implement an action, irrespective of our economic appraisal, then we should include that action in the programme of measures and build the expected outcome into the water body objective.
Water Framework Directive (Surface Waters) | WFD_IMP_CHEM | To meet either good ecological status or good chemical status. Needed where an EQS is exceeded downstream of a wastewater treatment works discharge. Measures that fail economic tests will receive standstill limits under WFD_NDLS_CHEM1 |  | Statutory | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_IMP_MOD | Actions to ensure no river, lake or estuary is in poor or bad ecological status due to the water industry. | *NEW* | Statutory + | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_IMP_PHYSHAB | Actions to address barriers to passage of fish or impacted physical habitat in WFD failing waterbodies not designated artificial or heavily modified for water resources uses. | *NEW* | Statutory + | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_IMP_WRFlow | Action to improve ecological status (surface water) |  | Statutory + | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_IMP_WRHMWB | Action to improve ecological status (surface water) |  | Statutory + | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_INV | Investigations for actions to improve water quality in terms of relevant WFDR status objectives. |  | TBC | 2027-04-30
We anticipate that the majority of investigations will have been carried out during the first and second river basin management planning cycles. However, some investigations may still be needed.
Please identify the pressure(s) for further investigation with the WFD driver code(s). Outline the scope of investigation within the investigation column of WINEP. In the investigation scope column record the parameter of concern and the investigation details.
This driver is only for:
• Investigations carried out by the water company, and
• Investigations where further certainty is needed to be able to target cost-beneficial measures to be carried out by the water company.
This driver should not be used for optioneering of solutions.
Water Framework Directive (Surface Waters) | WFD_INV_CHEM | Investigations. Instead of breaking this driver down using sub-codes, one column in the WINEP will identify the chemical(s) being investigated, and a text column in the WINEP will be used to describe the investigation type. |  | Statutory, Non Statutory | 2027-04-30
Water Framework Directive (Surface Waters) | WFD_INV_MOD | Investigations to ensure no river, lake or estuary is in poor or bad ecological statusdue to the water industry. | *NEW* | Statutory + | 2027-04-30
Water Framework Directive (Surface Waters) | WFD_INV_MP | Investigations into micro-plastics | *NEW* | Non Statutory | 2027-04-30
Water Framework Directive (Surface Waters) | WFD_INV_N-Tal | Investigations to assess treatment options for nitrogen | *NEW* | Non Statutory | 2027-04-30
Water Framework Directive (Surface Waters) | WFD_INV_PHYSHAB | Investigation to determine | *NEW* | Statutory | 2027-04-30
● impacts from water company owned/utilised physical modification on fish passage or physical habitat and
● impact to WFD water body status/potential objectives – e.g. is the physical modification a reason for not achieving good status/potential?
Water Framework Directive (Surface Waters) | WFD_INV_WRFlow | Investigation to determine impact of abstractions and appraisal of options for an effective solution to achieve good ecological status (surface water) |  | Statutory | 2026-12-31
Water Framework Directive (Surface Waters) | WFD_INV_WRHMWB | Investigation to determine impact of abstractions and appraisal of options for an effective solution to achieve good ecological status (surface water) |  | Statutory | 2026-12-31
Water Framework Directive (Surface Waters) | WFD_ND | Actions to meet requirements to prevent deterioration |  | Statutory | 2026-03-31
Water Framework Directive (Surface Waters) | WFD_ND_CHEM3 | Actions to meet requirements to prevent deterioration in chemical status because of growth | *NEW* | Statutory | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_ND_CHEM4 | Actions to meet requirements to prevent deterioration to maintain existing standstill limits for chemicals if there is growth in the sewage works’ catchment. | *NEW* | Statutory | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_ND_WRFlow | Action to protect / ensure no deterioration in status (surface water) |  | Statutory | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_ND_WRHMWB | Action to protect / ensure no deterioration in status (surface water) |  | Statutory | 2030-03-31
Water Framework Directive (Surface Waters) | WFD_NDINV_WRFlow | Investigation to determine the likelihood that future abstraction will cause deterioration in any element affecting the ecological status of a water body and identify effective solutions. |  | Statutory | 2026-12-31
Water Framework Directive (Surface Waters) | WFD_NDINV_WRHMWB | Investigation to determine the likelihood that future abstraction will cause deterioration in any element affecting the ecological status of a water body and identify effective solutions |  | Statutory | 2026-12-31
Water Framework Directive (Surface Waters) | WFD_NDLS_Chem1 | Measures related to load standstill requirements for chemicals (where EQS exceedance is predicted, but measures fail economic assessments associated with EQS). |  | Statutory | 2027-03-31
Water Framework Directive (Surface Waters) | WFD_NDLS_Chem2 | Measures related to load standstill requirements for chemicals (below EQS). These are set where a wastewater treatment works is discharging significant concentrations of a chemical, but the EQS is not threatened immediately downstream. Targets are set to ensure that current effluent quality does not deteriorate and to contribute to broader aims to cease and phase out emissions, discharges and losses of priority hazardous substances and prevent pollution swapping. This driver would be used where there is no risk that growth between 2015 and 2021 would cause an actual failure of the EQS |  | Statutory | 2027-03-31
WFD Groundwater | WFDGW_IMP | Groundwater Good Status improvement measure relating to water resource or water quality |  | Statutory + | 2030-03-31
WFD Groundwater | WFDGW_INV | Groundwater good status improvement action relating to water resource or water quality. |  | Statutory | 2027-04-30
WFD Groundwater | WFDGW_ND | Groundwater prevent deterioration action relating to water resource or water quality |  | Statutory | 2026-03-31
WFD Groundwater | WFDGW_NDINV | Groundwater prevent deterioration investigation relating towater resource or water quality. |  | Statutory | 2027-04-30